WSD1

Precollar to 160m.  Units measured CGS 10-6.  RC 5 ½ inch diameter hole.

NQ diamond core from 160m to EOH.  Not sure if mag sus readings on the NQ core have been adjusted for the smaller sample size (?)  The geologist cannot recollect whether corrections were made for NQ.  If so, the correction factor used would have been 1.52.

Significant differences in mag sus readings in the core can be partly attributed to lithology change (small dykes or veins).  Measurments were done using the Geo Instruments GMS-2 Mag Sus Meter here in the office back in October 1997.

Belinda Smith (& Peter Simpson)

August 16, 1999