## INST
---------------------
Comments:
Date format: M/d/yy h:mm:ss a
---------------------
Box Type | Serial Nb | Ch. Nb | Line Name | Point Nb | State | Auto Test | Distortion (dB) | Noise (µV) | CMRR (dB) | Gain Error (%) | Phase Error (us) | Crosstalk (dB) | Latest Update
FDU-428 | 5878272 | 1 | -1 | -1 | ? | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-05-11 08:42
FDU-428 | 5866242 | 1 | -1 | -1 | ? | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-05-11 08:42
FDU-428 | 5878121 | 1 | 0 | 1 | A | ok | -114.61 | 0.44 | 132.28 | 0.07 | 0.63 | 140 | 2013-08-11 08:14
FDU-428 | 5878274 | 1 | 0 | 2 | A | ok | -115.39 | 0.43 | 142.23 | 0.04 | 0.96 | 140 | 2013-08-11 08:14
FDU-428 | 6053697 | 1 | 6 | 12206 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1524195 | 1 | 6 | 12207 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6457716 | 1 | 6 | 12208 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6501187 | 1 | 6 | 12209 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5285986 | 1 | 6 | 12210 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5282777 | 1 | 6 | 12211 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5008766 | 1 | 6 | 12212 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5016185 | 1 | 6 | 12213 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5044395 | 1 | 6 | 12214 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5040516 | 1 | 6 | 12215 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6640178 | 1 | 6 | 12216 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6642086 | 1 | 6 | 12217 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6499066 | 1 | 6 | 12218 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6666228 | 1 | 6 | 12219 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5025408 | 1 | 6 | 12220 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5007496 | 1 | 6 | 12221 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 7294744 | 1 | 6 | 12222 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6981384 | 1 | 6 | 12223 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 7180002 | 1 | 6 | 12224 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 7294211 | 1 | 6 | 12225 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5208225 | 1 | 6 | 12226 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5208345 | 1 | 6 | 12227 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6270546 | 1 | 6 | 12228 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6268568 | 1 | 6 | 12229 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6268666 | 1 | 6 | 12230 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 6268567 | 1 | 6 | 12231 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1027665 | 1 | 6 | 12232 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1021496 | 1 | 6 | 12233 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5291286 | 1 | 6 | 12234 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 5286745 | 1 | 6 | 12235 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1422047 | 1 | 6 | 12236 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1522117 | 1 | 6 | 12237 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 10677320 | 1 | 6 | 12238 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1130718 | 1 | 6 | 12239 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1405097 | 1 | 6 | 12240 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1449287 | 1 | 6 | 12241 |  | ok | 0 | 0 | 0 | 0 | 0 | 0 | 2013-07-11 08:40
FDU-428 | 1451388 | 1 | 6 | 12242 |  | ok | -110.87 | 0.42 | 135.13 | 0.02 | -3.34 | 140 | 2013-08-11 08:14
FDU-428 | 1446227 | 1 | 6 | 12243 |  | ok | -108.91 | 0.43 | 140.74 | 0.05 | -2.91 | 140 | 2013-08-11 08:14
FDU-428 | 5053038 | 1 | 6 | 12244 |  | ok | -112.78 | 0.35 | 132.63 | 0.04 | -0.15 | 140 | 2013-08-11 08:14
FDU-428 | 4937276 | 1 | 6 | 12245 |  | ok | -112.23 | 0.36 | 128.87 | 0.05 | -2.35 | 140 | 2013-08-11 08:14
FDU-428 | 5380872 | 1 | 6 | 12246 |  | ok | -111.8 | 0.42 | 135.7 | 0.04 | 1.11 | 140 | 2013-08-11 08:14
FDU-428 | 7942431 | 1 | 6 | 12247 |  | ok | -110.53 | 0.42 | 141.87 | 0.06 | 0.42 | 140 | 2013-08-11 08:14
FDU-428 | 5859132 | 1 | 6 | 12248 |  | ok | -113.03 | 0.43 | 136.86 | 0.04 | 1.98 | 140 | 2013-08-11 08:14
FDU-428 | 1131076 | 1 | 6 | 12249 |  | ok | -112.61 | 0.42 | 146.84 | 0.04 | -1.57 | 140 | 2013-08-11 08:14
FDU-428 | 1442305 | 1 | 6 | 12250 |  | ok | -111.57 | 0.45 | 138.4 | 0.05 | -1.54 | 140 | 2013-08-11 08:14
FDU-428 | 1495757 | 1 | 6 | 12251 |  | ok | -110.52 | 0.47 | 140.32 | -0.01 | -1.57 | 140 | 2013-08-11 08:14
FDU-428 | 5995012 | 1 | 6 | 12252 |  | ok | -109.23 | 0.47 | 149.71 | -0.01 | 0.81 | 140 | 2013-08-11 08:14
FDU-428 | 5995013 | 1 | 6 | 12253 |  | ok | -110.5 | 0.44 | 138.94 | 0.02 | 0.17 | 140 | 2013-08-11 08:14
FDU-428 | 5251036 | 1 | 6 | 12254 |  | ok | -113.97 | 0.4 | 144.25 | 0.06 | -1.08 | 140 | 2013-08-11 08:14
FDU-428 | 5258286 | 1 | 6 | 12255 |  | ok | -112.78 | 0.36 | 132.04 | 0.05 | -0.89 | 140 | 2013-08-11 08:14
FDU-428 | 10682416 | 1 | 6 | 12256 |  | ok | -113.52 | 0.35 | 143.57 | 0.04 | -1.41 | 140 | 2013-08-11 08:14
FDU-428 | 10539038 | 1 | 6 | 12257 |  | ok | -114.77 | 0.34 | 122.2 | 0.06 | 0.57 | 140 | 2013-08-11 08:14
FDU-428 | 10687228 | 1 | 6 | 12258 |  | ok | -115.32 | 0.35 | 129.29 | 0.03 | 0.05 | 140 | 2013-08-11 08:14
FDU-428 | 10697328 | 1 | 6 | 12259 |  | ok | -113.52 | 0.34 | 138.38 | 0.03 | 1.33 | 140 | 2013-08-11 08:14
FDU-428 | 5374864 | 1 | 6 | 12260 |  | ok | -109.69 | 0.44 | 135.66 | 0.06 | -0.31 | 140 | 2013-08-11 08:14
FDU-428 | 5375172 | 1 | 6 | 12261 |  | ok | -110.85 | 0.43 | 138.97 | 0.08 | 0.46 | 140 | 2013-08-11 08:14
FDU-428 | 5375514 | 1 | 6 | 12262 |  | ok | -109.74 | 0.44 | 137.61 | 0.05 | 0.82 | 140 | 2013-08-11 08:14
FDU-428 | 5375511 | 1 | 6 | 12263 |  | ok | -112.38 | 0.43 | 137.99 | 0.04 | 1.25 | 140 | 2013-08-11 08:14
FDU-428 | 5992462 | 1 | 6 | 12264 |  | ok | -111 | 0.41 | 146.34 | 0.02 | -0.31 | 140 | 2013-08-11 08:14
FDU-428 | 5992464 | 1 | 6 | 12265 |  | ok | -110.09 | 0.42 | 135.18 | 0.06 | 0.08 | 140 | 2013-08-11 08:14
FDU-428 | 1694345 | 1 | 6 | 12266 |  | ok | -113.25 | 0.46 | 135.73 | 0.04 | -1.92 | 140 | 2013-08-11 08:14
FDU-428 | 1697107 | 1 | 6 | 12267 |  | ok | -111.79 | 0.43 | 141.99 | 0.03 | -1.84 | 140 | 2013-08-11 08:14
FDU-428 | 1029956 | 1 | 6 | 12268 |  | ok | -107.13 | 0.45 | 140.6 | 0.05 | 2.85 | 140 | 2013-08-11 08:14
FDU-428 | 1029287 | 1 | 6 | 12269 |  | ok | -111.32 | 0.46 | 141.65 | 0.03 | 1.55 | 140 | 2013-08-11 08:14
FDU-428 | 1604566 | 1 | 6 | 12270 |  | ok | -110.61 | 0.42 | 142.9 | 0.04 | -2.14 | 140 | 2013-08-11 08:14
FDU-428 | 1149428 | 1 | 6 | 12271 |  | ok | -110.3 | 0.44 | 137.61 | 0.02 | -1.73 | 140 | 2013-08-11 08:14
FDU-428 | 7942574 | 1 | 6 | 12272 |  | ok | -108.9 | 0.46 | 139.4 | 0.05 | 1.73 | 140 | 2013-08-11 08:14
FDU-428 | 1600756 | 1 | 6 | 12273 |  | ok | -109.24 | 0.41 | 133.31 | 0.02 | -2.19 | 140 | 2013-08-11 08:14
FDU-428 | 1499926 | 1 | 6 | 12274 |  | ok | -108.58 | 0.42 | 154.02 | 0.04 | -2.03 | 140 | 2013-08-11 08:14
FDU-428 | 1370067 | 1 | 6 | 12275 |  | ok | -110.83 | 0.42 | 140.87 | 0.05 | -0.8 | 140 | 2013-08-11 08:14
FDU-428 | 1431568 | 1 | 6 | 12276 |  | ok | -112.47 | 0.42 | 138.21 | 0.03 | -0.53 | 140 | 2013-08-11 08:14
FDU-428 | 1358498 | 1 | 6 | 12277 |  | ok | -109.97 | 0.44 | 137.25 | 0.04 | -2.95 | 140 | 2013-08-11 08:14
FDU-428 | 1542366 | 1 | 6 | 12278 |  | ok | -109.61 | 0.46 | 133.1 | 0.03 | -2.37 | 140 | 2013-08-11 08:14
FDU-428 | 5256625 | 1 | 6 | 12279 |  | ok | -118.48 | 0.36 | 147.79 | 0.06 | -1.19 | 140 | 2013-08-11 08:14
FDU-428 | 1228505 | 1 | 6 | 12280 |  | ok | -108.54 | 0.43 | 151.45 | 0.05 | -1.62 | 140 | 2013-08-11 08:14
FDU-428 | 1151406 | 1 | 6 | 12281 |  | ok | -112.25 | 0.42 | 136.89 | 0.06 | 1.29 | 140 | 2013-08-11 08:14
FDU-428 | 6980582 | 1 | 6 | 12282 |  | ok | -113.17 | 0.44 | 140.48 | 0.05 | -3.86 | 140 | 2013-08-11 08:14
FDU-428 | 7144401 | 1 | 6 | 12283 |  | ok | -112.97 | 0.42 | 131.5 | 0.03 | -3.04 | 140 | 2013-08-11 08:14
FDU-428 | 6980554 | 1 | 6 | 12284 |  | ok | -108.65 | 0.42 | 139.36 | 0.05 | -3.89 | 140 | 2013-08-11 08:14
FDU-428 | 6985324 | 1 | 6 | 12285 |  | ok | -113.13 | 0.43 | 152.78 | 0.09 | 0.44 | 140 | 2013-08-11 08:14
FDU-428 | 1029476 | 1 | 6 | 12286 |  | ok | -107.04 | 0.49 | 135.24 | 0.04 | 2.82 | 140 | 2013-08-11 08:14
FDU-428 | 5887092 | 1 | 6 | 12287 |  | ok | -113.68 | 0.44 | 138.45 | 0.01 | 2.82 | 140 | 2013-08-11 08:14
FDU-428 | 1499516 | 1 | 6 | 12288 |  | ok | -107.92 | 0.41 | 142.76 | -0.01 | -1.77 | 140 | 2013-08-11 08:14
FDU-428 | 1131658 | 1 | 6 | 12289 |  | ok | -111.49 | 0.44 | 135.04 | -0.02 | -2.11 | 140 | 2013-08-11 08:14
FDU-428 | 1499057 | 1 | 6 | 12290 |  | ok | -109.97 | 0.42 | 136.14 | -0.02 | -1.72 | 140 | 2013-08-11 08:14
FDU-428 | 1537978 | 1 | 6 | 12291 |  | ok | -109.52 | 0.44 | 140.69 | 0.02 | -2.96 | 140 | 2013-08-11 08:14
FDU-428 | 1028295 | 1 | 6 | 12292 |  | ok | -109.14 | 0.43 | 135.43 | 0.07 | 2.3 | 140 | 2013-08-11 08:14
FDU-428 | 5288137 | 1 | 6 | 12293 |  | ok | -114.62 | 0.37 | 139.37 | 0.03 | -0.29 | 140 | 2013-08-11 08:14
FDU-428 | 1637738 | 1 | 6 | 12294 |  | ok | -109.91 | 0.46 | 134.43 | -0.01 | -0.47 | 140 | 2013-08-11 08:14
FDU-428 | 1686886 | 1 | 6 | 12295 |  | ok | -110.42 | 0.44 | 141.67 | 0.02 | -0.41 | 140 | 2013-08-11 08:14
FDU-428 | 5282888 | 1 | 6 | 12296 |  | ok | -117.14 | 0.35 | 120.73 | 0.03 | -1.9 | 140 | 2013-08-11 08:14
FDU-428 | 5215546 | 1 | 6 | 12297 |  | ok | -114.73 | 0.36 | 135.79 | 0.03 | 0.83 | 140 | 2013-08-11 08:14
FDU-428 | 5007495 | 1 | 6 | 12298 |  | ok | -116.34 | 0.37 | 139.73 | 0.05 | -1.85 | 140 | 2013-08-11 08:14
FDU-428 | 5024208 | 1 | 6 | 12299 |  | ok | -115.03 | 0.37 | 122.06 | 0.04 | -0.29 | 140 | 2013-08-11 08:14
FDU-428 | 6345517 | 1 | 6 | 12300 |  | ok | -113.02 | 0.36 | 135.68 | 0.04 | -2.17 | 140 | 2013-08-11 08:14
FDU-428 | 6332547 | 1 | 6 | 12301 |  | ok | -115.3 | 0.36 | 135.81 | 0.05 | -1.93 | 140 | 2013-08-11 08:14
FDU-428 | 6484115 | 1 | 6 | 12302 |  | ok | -114.37 | 0.37 | 144.32 | 0.02 | 0.49 | 140 | 2013-08-11 08:14
FDU-428 | 4453957 | 1 | 6 | 12303 |  | ok | -116.01 | 0.36 | 141.79 | 0.04 | -0.34 | 140 | 2013-08-11 08:14
FDU-428 | 5284705 | 1 | 6 | 12304 |  | ok | -114.21 | 0.38 | 134.11 | 0.04 | -0.72 | 140 | 2013-08-11 08:14
FDU-428 | 5285488 | 1 | 6 | 12305 |  | ok | -116.81 | 0.37 | 133.58 | 0.04 | -1.24 | 140 | 2013-08-11 08:14
FDU-428 | 5266466 | 1 | 6 | 12306 |  | ok | -117.09 | 0.36 | 126.83 | 0.03 | -1.21 | 140 | 2013-08-11 08:14
FDU-428 | 5262428 | 1 | 6 | 12307 |  | ok | -114.63 | 0.36 | 130.62 | 0.07 | -1.48 | 140 | 2013-08-11 08:14
FDU-428 | 1522537 | 1 | 6 | 12308 |  | ok | -110.79 | 0.42 | 132.57 | 0.03 | -1.74 | 140 | 2013-08-11 08:14
FDU-428 | 1536548 | 1 | 6 | 12309 |  | ok | -110.18 | 0.44 | 153.96 | 0 | -0.7 | 140 | 2013-08-11 08:14
FDU-428 | 5007395 | 1 | 6 | 12310 |  | ok | -113.98 | 0.35 | 133.5 | 0.05 | -0.82 | 140 | 2013-08-11 08:14
FDU-428 | 5024688 | 1 | 6 | 12311 |  | ok | -113.31 | 0.36 | 130.95 | 0.04 | -0.26 | 140 | 2013-08-11 08:14
FDU-428 | 1523726 | 1 | 6 | 12312 |  | ok | -111.77 | 0.42 | 135.74 | 0.03 | -1.17 | 140 | 2013-08-11 08:14
FDU-428 | 1537786 | 1 | 6 | 12313 |  | ok | -111.38 | 0.43 | 147.28 | 0.03 | -1.88 | 140 | 2013-08-11 08:14
FDU-428 | 1498245 | 1 | 6 | 12314 |  | ok | -110.16 | 0.45 | 152.43 | 0.02 | -2.85 | 140 | 2013-08-11 08:14
FDU-428 | 1449078 | 1 | 6 | 12315 |  | ok | -110.97 | 0.45 | 142.11 | 0 | 0.99 | 140 | 2013-08-11 08:14
FDU-428 | 1448655 | 1 | 6 | 12316 |  | ok | -110.03 | 0.49 | 137.27 | 0.02 | -1.2 | 140 | 2013-08-11 08:14
FDU-428 | 1537657 | 1 | 6 | 12317 |  | ok | -107.21 | 0.46 | 134.92 | -0.02 | -2.47 | 140 | 2013-08-11 08:14
FDU-428 | 6500116 | 1 | 6 | 12318 |  | ok | -112.56 | 0.34 | 135.46 | 0.03 | -1.57 | 140 | 2013-08-11 08:14
FDU-428 | 6508855 | 1 | 6 | 12319 |  | ok | -113.06 | 0.33 | 136.44 | 0.04 | -1.21 | 140 | 2013-08-11 08:14
FDU-428 | 6666328 | 1 | 6 | 12320 |  | ok | -112.37 | 0.34 | 131.82 | 0.02 | -1.88 | 140 | 2013-08-11 08:14
FDU-428 | 6500037 | 1 | 6 | 12321 |  | ok | -114.41 | 0.33 | 132.07 | 0.03 | -1.49 | 140 | 2013-08-11 08:14
FDU-428 | 6501668 | 1 | 6 | 12322 |  | ok | -114.34 | 0.33 | 138.62 | 0.04 | -1.5 | 140 | 2013-08-11 08:14
FDU-428 | 6502746 | 1 | 6 | 12323 |  | ok | -114.01 | 0.34 | 141.08 | 0.04 | -1.46 | 140 | 2013-08-11 08:14
FDU-428 | 6483596 | 1 | 6 | 12324 |  | ok | -113.29 | 0.34 | 133.74 | 0.04 | -1.48 | 140 | 2013-08-11 08:14
FDU-428 | 6499798 | 1 | 6 | 12325 |  | ok | -114.83 | 0.35 | 133.54 | 0.05 | -0.5 | 140 | 2013-08-11 08:14
FDU-428 | 1530158 | 1 | 6 | 12326 |  | ok | -109.28 | 0.47 | 133.07 | 0.03 | -1.28 | 140 | 2013-08-11 08:14
FDU-428 | 1540087 | 1 | 6 | 12327 |  | ok | -109.73 | 0.45 | 137.64 | 0.04 | -2.71 | 140 | 2013-08-11 08:14
FDU-428 | 10684170 | 1 | 6 | 12328 |  | ok | -112.97 | 0.36 | 129.92 | 0.06 | 0.39 | 140 | 2013-08-11 08:14
FDU-428 | 10539087 | 1 | 6 | 12329 |  | ok | -115.87 | 0.35 | 131.28 | 0.05 | 0.23 | 140 | 2013-08-11 08:14
FDU-428 | 10694073 | 1 | 6 | 12330 |  | ok | -114.22 | 0.35 | 143.59 | 0.05 | 0.56 | 140 | 2013-08-11 08:14
FDU-428 | 10693970 | 1 | 6 | 12331 |  | ok | -113.43 | 0.35 | 133.96 | 0.04 | -0.17 | 140 | 2013-08-11 08:14
FDU-428 | 7294652 | 1 | 6 | 12332 |  | ok | -112.12 | 0.45 | 139.07 | 0.01 | -2.25 | 140 | 2013-08-11 08:14
FDU-428 | 1711688 | 1 | 6 | 12333 |  | ok | -109.48 | 0.46 | 133.12 | 0.04 | -1.66 | 140 | 2013-08-11 08:14
FDU-428 | 1827675 | 1 | 6 | 12334 |  | ok | -110.19 | 0.44 | 136.13 | 0.05 | -1.47 | 140 | 2013-08-11 08:14
FDU-428 | 1712226 | 1 | 6 | 12335 |  | ok | -111.79 | 0.43 | 135.73 | 0.03 | -2.14 | 140 | 2013-08-11 08:14
FDU-428 | 5019916 | 1 | 6 | 12336 |  | ok | -116.37 | 0.39 | 128.8 | 0.05 | -0.44 | 140 | 2013-08-11 08:14
FDU-428 | 5005388 | 1 | 6 | 12337 |  | ok | -117.69 | 0.36 | 126.99 | 0.06 | -2.22 | 140 | 2013-08-11 08:14
FDU-428 | 5879621 | 1 | 6 | 12338 |  | ok | -110.59 | 0.42 | 148.06 | 0.07 | 4.4 | 140 | 2013-08-11 08:14
FDU-428 | 1165466 | 1 | 6 | 12339 |  | ok | -111.74 | 0.43 | 137.82 | 0.04 | 1.48 | 140 | 2013-08-11 08:14
FDU-428 | 5253028 | 1 | 6 | 12340 |  | ok | -112.98 | 0.39 | 134.27 | 0.05 | -0.68 | 140 | 2013-08-11 08:14
FDU-428 | 5282567 | 1 | 6 | 12341 |  | ok | -117.05 | 0.37 | 139.47 | 0.04 | -1.87 | 140 | 2013-08-11 08:14
FDU-428 | 1498297 | 1 | 6 | 12342 |  | ok | -109.11 | 0.45 | 137.59 | 0 | -1.68 | 140 | 2013-08-11 08:14
FDU-428 | 7292001 | 1 | 6 | 12343 |  | ok | -106.74 | 0.45 | 135.68 | 0.02 | -2.33 | 140 | 2013-08-11 08:14
FDU-428 | 6499068 | 1 | 6 | 12344 |  | ok | -111.97 | 0.35 | 132.4 | 0.04 | -2.33 | 140 | 2013-08-11 08:14
FDU-428 | 6983054 | 1 | 6 | 12345 |  | ok | -109.19 | 0.41 | 143.21 | 0 | -1.91 | 140 | 2013-08-11 08:14
FDU-428 | 1340626 | 1 | 6 | 12346 |  | ok | -111.18 | 0.45 | 140.34 | 0.03 | -2.92 | 140 | 2013-08-11 08:14
FDU-428 | 1423698 | 1 | 6 | 12347 |  | ok | -111.45 | 0.45 | 134.31 | 0 | 1.96 | 140 | 2013-08-11 08:14
FDU-428 | 5028106 | 1 | 6 | 12348 |  | ok | -116.18 | 0.35 | 138.79 | 0.06 | -0.77 | 140 | 2013-08-11 08:14
FDU-428 | 5055235 | 1 | 6 | 12349 |  | ok | -115.9 | 0.36 | 138.36 | 0.04 | -1.27 | 140 | 2013-08-11 08:14
FDU-428 | 5995123 | 1 | 6 | 12350 |  | ok | -108.88 | 0.42 | 134.68 | 0.05 | -0.22 | 140 | 2013-08-11 08:14
FDU-428 | 5986733 | 1 | 6 | 12351 |  | ok | -109.95 | 0.42 | 142.91 | 0.05 | 0.15 | 140 | 2013-08-11 08:14
FDU-428 | 1021745 | 1 | 6 | 12352 |  | ok | -107.88 | 0.46 | 139.04 | 0.06 | 1.57 | 140 | 2013-08-11 08:14
FDU-428 | 1021796 | 1 | 6 | 12353 |  | ok | -108.9 | 0.43 | 132.63 | 0.08 | 1.82 | 140 | 2013-08-11 08:14
FDU-428 | 1529497 | 1 | 6 | 12354 |  | ok | -111.08 | 0.44 | 149.46 | 0.06 | -2.66 | 140 | 2013-08-11 08:14
FDU-428 | 1530028 | 1 | 6 | 12355 |  | ok | -110.23 | 0.44 | 144.87 | 0.01 | -2.77 | 140 | 2013-08-11 08:14
FDU-428 | 1028215 | 1 | 6 | 12356 |  | ok | -109.72 | 0.43 | 135.56 | 0.07 | 2.23 | 140 | 2013-08-11 08:14
FDU-428 | 1028978 | 1 | 6 | 12357 |  | ok | -106.57 | 0.43 | 139.86 | 0.06 | 4.53 | 140 | 2013-08-11 08:14
FDU-428 | 6312657 | 1 | 6 | 12358 |  | ok | -113.44 | 0.33 | 139.47 | 0.03 | -0.43 | 140 | 2013-08-11 08:14
FDU-428 | 6311055 | 1 | 6 | 12359 |  | ok | -115.1 | 0.36 | 152.62 | 0.02 | -2.54 | 140 | 2013-08-11 08:14
FDU-428 | 6341168 | 1 | 6 | 12360 |  | ok | -115.56 | 0.36 | 125.38 | 0.03 | 1.71 | 140 | 2013-08-11 08:14
FDU-428 | 6603555 | 1 | 6 | 12361 |  | ok | -115.16 | 0.36 | 135.18 | 0.03 | 1.18 | 140 | 2013-08-11 08:14
FDU-428 | 6550515 | 1 | 6 | 12362 |  | ok | -115.34 | 0.35 | 139.74 | 0.05 | -1.86 | 140 | 2013-08-11 08:14
FDU-428 | 6434648 | 1 | 6 | 12363 |  | ok | -116.25 | 0.35 | 132.33 | 0.03 | -1.95 | 140 | 2013-08-11 08:14
FDU-428 | 6293938 | 1 | 6 | 12364 |  | ok | -115.39 | 0.38 | 131.87 | 0.03 | -1.7 | 140 | 2013-08-11 08:14
FDU-428 | 6550517 | 1 | 6 | 12365 |  | ok | -115.7 | 0.35 | 137.09 | 0.03 | -2.98 | 140 | 2013-08-11 08:14
FDU-428 | 1540855 | 1 | 6 | 12366 |  | ok | -110.55 | 0.47 | 142.85 | 0.06 | 1.14 | 140 | 2013-08-11 08:14
FDU-428 | 1549835 | 1 | 6 | 12367 |  | ok | -110.42 | 0.44 | 149.96 | 0.03 | -3.63 | 140 | 2013-08-11 08:14
FDU-428 | 1146017 | 1 | 6 | 12368 |  | ok | -109.3 | 0.4 | 137.16 | 0.04 | -1.18 | 140 | 2013-08-11 08:14
FDU-428 | 5884603 | 1 | 6 | 12369 |  | ok | -108.84 | 0.47 | 133.6 | -0.01 | 2.8 | 140 | 2013-08-11 08:14
FDU-428 | 5223836 | 1 | 6 | 12370 |  | ok | -116.02 | 0.38 | 122.36 | 0.05 | 0.5 | 140 | 2013-08-11 08:14
FDU-428 | 5297715 | 1 | 6 | 12371 |  | ok | -114.29 | 0.35 | 135.25 | 0.05 | 0.85 | 140 | 2013-08-11 08:14
FDU-428 | 5773911 | 1 | 6 | 12372 |  | ok | -114.16 | 0.47 | 139.41 | 0.08 | 0.53 | 140 | 2013-08-11 08:14
FDU-428 | 5368274 | 1 | 6 | 12373 |  | ok | -115.24 | 0.44 | 135.94 | 0.05 | 0.57 | 140 | 2013-08-11 08:14
FDU-428 | 6057196 | 1 | 6 | 12374 |  | ok | -113.56 | 0.38 | 147.76 | 0.03 | -2.69 | 140 | 2013-08-11 08:14
FDU-428 | 6034936 | 1 | 6 | 12375 |  | ok | -115.69 | 0.34 | 131.78 | 0.03 | -1.09 | 140 | 2013-08-11 08:14
FDU-428 | 6448617 | 1 | 6 | 12376 |  | ok | -112.64 | 0.36 | 134.1 | 0.02 | -2.08 | 140 | 2013-08-11 08:14
FDU-428 | 6067236 | 1 | 6 | 12377 |  | ok | -117.34 | 0.4 | 140.38 | 0.04 | -1.36 | 140 | 2013-08-11 08:14
FDU-428 | 5865943 | 1 | 6 | 12378 |  | ok | -112.04 | 0.43 | 135.7 | 0.07 | 1.91 | 140 | 2013-08-11 08:14
FDU-428 | 5865944 | 1 | 6 | 12379 |  | ok | -114.2 | 0.43 | 136.85 | 0.03 | 0.71 | 140 | 2013-08-11 08:14
FDU-428 | 7180653 | 1 | 6 | 12380 |  | ok | -110.55 | 0.45 | 137.37 | 0.08 | -1.76 | 140 | 2013-08-11 08:14
FDU-428 | 7293711 | 1 | 6 | 12381 |  | ok | -109.97 | 0.46 | 133.95 | 0.03 | -1.34 | 140 | 2013-08-11 08:14
FDU-428 | 5379702 | 1 | 6 | 12382 |  | ok | -110.36 | 0.45 | 140.52 | 0.04 | 0.62 | 140 | 2013-08-11 08:14
FDU-428 | 5379691 | 1 | 6 | 12383 |  | ok | -111.27 | 0.43 | 139.85 | 0.05 | -0.12 | 140 | 2013-08-11 08:14
FDU-428 | 5026105 | 1 | 6 | 12384 |  | ok | -115.43 | 0.37 | 130.03 | 0.05 | -1.91 | 140 | 2013-08-11 08:14
FDU-428 | 5023687 | 1 | 6 | 12385 |  | ok | -117.95 | 0.33 | 136.98 | 0.01 | -1.67 | 140 | 2013-08-11 08:14
FDU-428 | 5368533 | 1 | 6 | 12386 |  | ok | -111.1 | 0.45 | 146.28 | 0.11 | 0.96 | 140 | 2013-08-11 08:14
FDU-428 | 5865534 | 1 | 6 | 12387 |  | ok | -115.61 | 0.44 | 142.87 | 0.07 | 1.42 | 140 | 2013-08-11 08:14
FDU-428 | 6502977 | 1 | 6 | 12388 |  | ok | -114.41 | 0.35 | 130.83 | 0.04 | -2.22 | 140 | 2013-08-11 08:14
FDU-428 | 6456906 | 1 | 6 | 12389 |  | ok | -115.26 | 0.38 | 137.21 | 0.04 | -0.77 | 140 | 2013-08-11 08:14
FDU-428 | 6456895 | 1 | 6 | 12390 |  | ok | -115.52 | 0.33 | 135.11 | 0.04 | -1.66 | 140 | 2013-08-11 08:14
FDU-428 | 6510768 | 1 | 6 | 12391 |  | ok | -114.26 | 0.35 | 141.25 | 0.04 | -0.27 | 140 | 2013-08-11 08:14
FDU-428 | 6101476 | 1 | 6 | 12392 |  | ok | -113.96 | 0.35 | 137.8 | 0.03 | 0.82 | 140 | 2013-08-11 08:14
FDU-428 | 6497945 | 1 | 6 | 12393 |  | ok | -115.85 | 0.34 | 134.8 | 0.03 | -1.67 | 140 | 2013-08-11 08:14
FDU-428 | 6497948 | 1 | 6 | 12394 |  | ok | -111.89 | 0.37 | 131.02 | 0.03 | -1.71 | 140 | 2013-08-11 08:14
FDU-428 | 6056365 | 1 | 6 | 12395 |  | ok | -117.42 | 0.37 | 131.23 | 0.06 | -2.02 | 140 | 2013-08-11 08:14
FDU-428 | 4608688 | 1 | 6 | 12396 |  | ok | -115.52 | 0.34 | 135.1 | 0.02 | -4.59 | 140 | 2013-08-11 08:14
FDU-428 | 4713278 | 1 | 6 | 12397 |  | ok | -113.45 | 0.37 | 135.5 | 0.03 | -1.07 | 140 | 2013-08-11 08:14
FDU-428 | 4714085 | 1 | 6 | 12398 |  | ok | -113.09 | 0.37 | 129.23 | 0.04 | -0.87 | 140 | 2013-08-11 08:14
FDU-428 | 4759666 | 1 | 6 | 12399 |  | ok | -118.92 | 0.36 | 136.71 | 0.05 | -2.66 | 140 | 2013-08-11 08:14
FDU-428 | 5027186 | 1 | 6 | 12400 |  | ok | -117.56 | 0.35 | 132.18 | 0.04 | -0.31 | 140 | 2013-08-11 08:14
FDU-428 | 5008768 | 1 | 6 | 12401 |  | ok | -116.89 | 0.39 | 125.02 | 0.02 | -2.65 | 140 | 2013-08-11 08:14
FDU-428 | 5994154 | 1 | 6 | 12402 |  | ok | -112.97 | 0.46 | 138.17 | 0.07 | 2.29 | 140 | 2013-08-11 08:14
FDU-428 | 5924991 | 1 | 6 | 12403 |  | ok | -113.53 | 0.39 | 135.72 | 0.08 | 1.8 | 140 | 2013-08-11 08:14
FDU-428 | 10539631 | 1 | 6 | 12404 |  | ok | -116.67 | 0.34 | 138.23 | 0.04 | 0.32 | 140 | 2013-08-11 08:14
FDU-428 | 10539435 | 1 | 6 | 12405 |  | ok | -115.92 | 0.34 | 139.36 | 0.03 | 0.87 | 140 | 2013-08-11 08:14
FDU-428 | 10539548 | 1 | 6 | 12406 |  | ok | -115.08 | 0.37 | 136.88 | 0.05 | 0.33 | 140 | 2013-08-11 08:14
FDU-428 | 10539549 | 1 | 6 | 12407 |  | ok | -115.96 | 0.38 | 141.47 | 0.06 | -0.06 | 140 | 2013-08-11 08:14
FDU-428 | 1536765 | 1 | 6 | 12408 |  | ok | -109.12 | 0.42 | 134.62 | 0.05 | -3.16 | 140 | 2013-08-11 08:14
FDU-428 | 1547578 | 1 | 6 | 12409 |  | ok | -110.37 | 0.42 | 136.51 | 0.02 | -2.2 | 140 | 2013-08-11 08:14
FDU-428 | 4752898 | 1 | 6 | 12410 |  | ok | -113.51 | 0.34 | 141.96 | 0.02 | -4.03 | 140 | 2013-08-11 08:14
FDU-428 | 4757555 | 1 | 6 | 12411 |  | ok | -117.15 | 0.34 | 133.34 | 0.02 | -3.4 | 140 | 2013-08-11 08:14
FDU-428 | 4759767 | 1 | 6 | 12412 |  | ok | -113.51 | 0.34 | 133.52 | 0.02 | -2.76 | 140 | 2013-08-11 08:14
FDU-428 | 4724948 | 1 | 6 | 12413 |  | ok | -115.27 | 0.37 | 140.03 | 0.04 | -0.83 | 140 | 2013-08-11 08:14
FDU-428 | 5210688 | 1 | 6 | 12414 |  | ok | -115.67 | 0.36 | 136.33 | 0.04 | 1.54 | 140 | 2013-08-11 08:14
FDU-428 | 5243997 | 1 | 6 | 12415 |  | ok | -116.93 | 0.35 | 145.28 | 0.04 | -2.15 | 140 | 2013-08-11 08:14
FDU-428 | 1196638 | 1 | 6 | 12416 |  | ok | -111.63 | 0.41 | 138.97 | 0.03 | 1.74 | 140 | 2013-08-11 08:14
FDU-428 | 1203777 | 1 | 6 | 12417 |  | ok | -110.65 | 0.45 | 143.92 | 0.05 | 3.97 | 140 | 2013-08-11 08:14
FDU-428 | 1163585 | 1 | 6 | 12418 |  | ok | -113.91 | 0.42 | 137.47 | 0.08 | 3.13 | 140 | 2013-08-11 08:14
FDU-428 | 5264537 | 1 | 6 | 12419 |  | ok | -116.21 | 0.36 | 138.34 | 0.04 | -0.51 | 140 | 2013-08-11 08:14
FDU-428 | 5866214 | 1 | 6 | 12420 |  | ok | -110.21 | 0.44 | 160.04 | -0.04 | 1.72 | 140 | 2013-08-11 08:14
FDU-428 | 7933673 | 1 | 6 | 12421 |  | ok | -110.96 | 0.44 | 134.96 | 0.18 | 2.9 | 140 | 2013-08-11 08:14
FDU-428 | 5264006 | 1 | 6 | 12422 |  | ok | -115.48 | 0.35 | 132.88 | 0.05 | -1.65 | 140 | 2013-08-11 08:14
FDU-428 | 5266908 | 1 | 6 | 12423 |  | ok | -116.53 | 0.36 | 134.84 | 0.04 | -2.58 | 140 | 2013-08-11 08:14
FDU-428 | 5996481 | 1 | 6 | 12424 |  | ok | -110.99 | 0.46 | 145.77 | 0.03 | 0.69 | 140 | 2013-08-11 08:14
FDU-428 | 1783325 | 1 | 6 | 12425 |  | ok | -108.92 | 0.42 | 139.5 | 0.03 | -0.9 | 140 | 2013-08-11 08:14
FDU-428 | 1029887 | 1 | 6 | 12426 |  | ok | -109.6 | 0.46 | 142.11 | 0.05 | 2.04 | 140 | 2013-08-11 08:14
FDU-428 | 1030206 | 1 | 6 | 12427 |  | ok | -111.31 | 0.44 | 140.73 | 0.07 | 1.58 | 140 | 2013-08-11 08:14
FDU-428 | 5030335 | 1 | 6 | 12428 |  | ok | -114.32 | 0.35 | 134.54 | 0.03 | -1.14 | 140 | 2013-08-11 08:14
FDU-428 | 5030135 | 1 | 6 | 12429 |  | ok | -113.57 | 0.37 | 143.36 | 0.04 | -1.38 | 140 | 2013-08-11 08:14
FDU-428 | 1271116 | 1 | 6 | 12430 |  | ok | -109.14 | 0.47 | 144.19 | 0.03 | 0.95 | 140 | 2013-08-11 08:14
FDU-428 | 1271115 | 1 | 6 | 12431 |  | ok | -110.81 | 0.42 | 131.96 | 0.04 | 3.03 | 140 | 2013-08-11 08:14
FDU-428 | 1530735 | 1 | 6 | 12432 |  | ok | -110.45 | 0.42 | 139.95 | 0.07 | -0.48 | 140 | 2013-08-11 08:14
FDU-428 | 1000477 | 1 | 6 | 12433 |  | ok | -114.59 | 0.46 | 143.44 | 0.03 | 0.83 | 140 | 2013-08-11 08:14
FDU-428 | 5335254 | 1 | 6 | 12434 |  | ok | -111.06 | 0.4 | 138.49 | 0.04 | 0.81 | 140 | 2013-08-11 08:14
FDU-428 | 5335223 | 1 | 6 | 12435 |  | ok | -111.82 | 0.43 | 140.54 | 0.05 | -0.19 | 140 | 2013-08-11 08:14
FDU-428 | 6499007 | 1 | 6 | 12436 |  | ok | -113.29 | 0.34 | 132.29 | 0.04 | -0.94 | 140 | 2013-08-11 08:14
FDU-428 | 6499005 | 1 | 6 | 12437 |  | ok | -112.41 | 0.36 | 129.49 | 0.03 | -2.18 | 140 | 2013-08-11 08:14
FDU-428 | 6498878 | 1 | 6 | 12438 |  | ok | -114.13 | 0.37 | 138.28 | 0.03 | -0.91 | 140 | 2013-08-11 08:14
FDU-428 | 6266676 | 1 | 6 | 12439 |  | ok | -113.74 | 0.35 | 144.7 | 0.04 | -1.51 | 140 | 2013-08-11 08:14
FDU-428 | 5252668 | 1 | 6 | 12440 |  | ok | -121.25 | 0.37 | 140.23 | 0.03 | -4.41 | 140 | 2013-08-11 08:14
FDU-428 | 5257598 | 1 | 6 | 12441 |  | ok | -112.3 | 0.38 | 130.27 | 0.04 | -0.24 | 140 | 2013-08-11 08:14
FDU-428 | 4936826 | 1 | 6 | 12442 |  | ok | -120.73 | 0.37 | 146.24 | 0.04 | -3.26 | 140 | 2013-08-11 08:14
FDU-428 | 5061587 | 1 | 6 | 12443 |  | ok | -115.16 | 0.36 | 135.46 | 0.04 | -1.28 | 140 | 2013-08-11 08:14
FDU-428 | 1521386 | 1 | 6 | 12444 |  | ok | -108.96 | 0.45 | 139.07 | 0.03 | -1.57 | 140 | 2013-08-11 08:14
FDU-428 | 1138125 | 1 | 6 | 12445 |  | ok | -110.24 | 0.44 | 152.94 | -0.03 | -2.17 | 140 | 2013-08-11 08:14
FDU-428 | 5234478 | 1 | 6 | 12446 |  | ok | -113.09 | 0.39 | 133.74 | 0.06 | 0.19 | 140 | 2013-08-11 08:14
FDU-428 | 5255986 | 1 | 6 | 12447 |  | ok | -117.48 | 0.36 | 139.7 | 0.08 | -1.28 | 140 | 2013-08-11 08:14
FDU-428 | 5993151 | 1 | 6 | 12448 |  | ok | -111.43 | 0.43 | 136.95 | 0.09 | 1.58 | 140 | 2013-08-11 08:14
FDU-428 | 5887813 | 1 | 6 | 12449 |  | ok | -113.87 | 0.41 | 148.21 | 0.08 | 2.37 | 140 | 2013-08-11 08:14
FDU-428 | 5251096 | 1 | 6 | 12450 |  | ok | -112.15 | 0.37 | 126.29 | 0.03 | -0.21 | 140 | 2013-08-11 08:14
FDU-428 | 5266616 | 1 | 6 | 12451 |  | ok | -120.68 | 0.35 | 135.43 | 0.02 | -2.6 | 140 | 2013-08-11 08:14
FDU-428 | 1521878 | 1 | 6 | 12452 |  | ok | -108.51 | 0.43 | 137.97 | 0.04 | -1.64 | 140 | 2013-08-11 08:14
FDU-428 | 1399715 | 1 | 6 | 12453 |  | ok | -108.89 | 0.45 | 141.24 | 0.02 | -3.35 | 140 | 2013-08-11 08:14
FDU-428 | 1498467 | 1 | 6 | 12454 |  | ok | -109.67 | 0.41 | 131.92 | 0.04 | -1.72 | 140 | 2013-08-11 08:14
FDU-428 | 1603018 | 1 | 6 | 12455 |  | ok | -108.21 | 0.4 | 134.6 | 0.04 | -2.41 | 140 | 2013-08-11 08:14
FDU-428 | 6038477 | 1 | 6 | 12456 |  | ok | -114.68 | 0.36 | 140.64 | 0.04 | -2.16 | 140 | 2013-08-11 08:14
FDU-428 | 6279508 | 1 | 6 | 12457 |  | ok | -114.92 | 0.37 | 138.37 | 0.04 | -1.1 | 140 | 2013-08-11 08:14
FDU-428 | 6073207 | 1 | 6 | 12458 |  | ok | -115.14 | 0.34 | 134.99 | 0.01 | -2.04 | 140 | 2013-08-11 08:14
FDU-428 | 6640016 | 1 | 6 | 12459 |  | ok | -114.01 | 0.34 | 133.71 | 0.06 | -3.03 | 140 | 2013-08-11 08:14
FDU-428 | 5373642 | 1 | 6 | 12460 |  | ok | -109.68 | 0.44 | 135.33 | 0.04 | 0.68 | 140 | 2013-08-11 08:14
FDU-428 | 5877713 | 1 | 6 | 12461 |  | ok | -109.98 | 0.45 | 150.46 | 0.02 | 0.73 | 140 | 2013-08-11 08:14
FDU-428 | 2322116 | 1 | 6 | 12462 |  | ok | -111.36 | 0.43 | 134.15 | 0.03 | 0.95 | 140 | 2013-08-11 08:14
FDU-428 | 2315937 | 1 | 6 | 12463 |  | ok | -109.4 | 0.43 | 136.43 | 0.02 | 1.41 | 140 | 2013-08-11 08:14
FDU-428 | 2329055 | 1 | 6 | 12464 |  | ok | -109.97 | 0.44 | 131.52 | 0.01 | 1.79 | 140 | 2013-08-11 08:14
FDU-428 | 2323996 | 1 | 6 | 12465 |  | ok | -112.51 | 0.46 | 169.62 | 0.05 | 3.44 | 140 | 2013-08-11 08:14
FDU-428 | 10695483 | 1 | 6 | 12466 |  | ok | -111.77 | 0.4 | 128.74 | 0.02 | 0.15 | 140 | 2013-08-11 08:14
FDU-428 | 10678000 | 1 | 6 | 12467 |  | ok | -117.1 | 0.36 | 138.3 | 0.04 | 0.79 | 140 | 2013-08-11 08:14
FDU-428 | 10658418 | 1 | 6 | 12468 |  | ok | -114.42 | 0.39 | 148.07 | 0.04 | 0.36 | 140 | 2013-08-11 08:14
FDU-428 | 10684679 | 1 | 6 | 12469 |  | ok | -113.21 | 0.36 | 133.54 | 0.02 | -2.28 | 140 | 2013-08-11 08:14
FDU-428 | 10539688 | 1 | 6 | 12470 |  | ok | -112.9 | 0.4 | 136.08 | 0.05 | 0.8 | 140 | 2013-08-11 08:14
FDU-428 | 10539687 | 1 | 6 | 12471 |  | ok | -118.63 | 0.35 | 134.51 | 0.03 | 0.82 | 140 | 2013-08-11 08:14
FDU-428 | 10539689 | 1 | 6 | 12472 |  | ok | -114.93 | 0.36 | 132.03 | 0.03 | 1.16 | 140 | 2013-08-11 08:14
FDU-428 | 10539583 | 1 | 6 | 12473 |  | ok | -114.82 | 0.34 | 127.31 | 0.03 | 0.16 | 140 | 2013-08-11 08:14
FDU-428 | 10542270 | 1 | 6 | 12474 |  | ok | -116.25 | 0.37 | 139.1 | 0.03 | 0.57 | 140 | 2013-08-11 08:14
FDU-428 | 10542301 | 1 | 6 | 12475 |  | ok | -118.87 | 0.37 | 134.62 | 0.03 | 0.54 | 140 | 2013-08-11 08:14
FDU-428 | 10541867 | 1 | 6 | 12476 |  | ok | -118.07 | 0.36 | 134.8 | 0.03 | 0.81 | 140 | 2013-08-11 08:14
FDU-428 | 10539756 | 1 | 6 | 12477 |  | ok | -113.2 | 0.35 | 142.22 | 0.03 | 1.02 | 140 | 2013-08-11 08:14
FDU-428 | 5215695 | 1 | 6 | 12478 |  | ok | -116.75 | 0.36 | 134.4 | 0.04 | -0.21 | 140 | 2013-08-11 08:14
FDU-428 | 5245237 | 1 | 6 | 12479 |  | ok | -119.7 | 0.36 | 136.97 | 0.04 | -0.21 | 140 | 2013-08-11 08:14
FDU-428 | 1791288 | 1 | 6 | 12480 |  | ok | -108.41 | 0.44 | 132.42 | 0.04 | -1.86 | 140 | 2013-08-11 08:14
FDU-428 | 1793735 | 1 | 6 | 12481 |  | ok | -110.62 | 0.46 | 145.94 | 0.07 | -1.51 | 140 | 2013-08-11 08:14
FDU-428 | 1721495 | 1 | 6 | 12482 |  | ok | -110.64 | 0.43 | 143.8 | 0.05 | -0.56 | 140 | 2013-08-11 08:14
FDU-428 | 1824788 | 1 | 6 | 12483 |  | ok | -111.39 | 0.45 | 140.3 | 0.06 | -1.54 | 140 | 2013-08-11 08:14
FDU-428 | 1137925 | 1 | 6 | 12484 |  | ok | -108.19 | 0.46 | 152.92 | -0.01 | -2.16 | 140 | 2013-08-11 08:14
FDU-428 | 1448756 | 1 | 6 | 12485 |  | ok | -109.79 | 0.46 | 136.79 | -0.03 | -2.3 | 140 | 2013-08-11 08:14
FDU-428 | 1328006 | 1 | 6 | 12486 |  | ok | -112 | 0.42 | 138.95 | 0.02 | -3.16 | 140 | 2013-08-11 08:14
FDU-428 | 1419755 | 1 | 6 | 12487 |  | ok | -111.52 | 0.44 | 144.09 | -0.01 | -2.81 | 140 | 2013-08-11 08:14
FDU-428 | 5286386 | 1 | 6 | 12488 |  | ok | -115.34 | 0.35 | 132.11 | 0.03 | -0.8 | 140 | 2013-08-11 08:14
FDU-428 | 5262745 | 1 | 6 | 12489 |  | ok | -116.28 | 0.47 | 136.32 | 0.05 | -1.76 | 140 | 2013-08-11 08:14
FDU-428 | 5219867 | 1 | 6 | 12490 |  | ok | -115.58 | 0.36 | 135.24 | 0.03 | -0.85 | 140 | 2013-08-11 08:14
FDU-428 | 5243978 | 1 | 6 | 12491 |  | ok | -117.33 | 0.38 | 132.47 | 0.04 | -0.99 | 140 | 2013-08-11 08:14
FDU-428 | 7149292 | 1 | 6 | 12492 |  | ok | -110.08 | 0.41 | 133.47 | 0.08 | -1.18 | 140 | 2013-08-11 08:14
FDU-428 | 1788828 | 1 | 6 | 12493 |  | ok | -110.36 | 0.46 | 135.31 | 0.04 | -1.36 | 140 | 2013-08-11 08:14
FDU-428 | 1828127 | 1 | 6 | 12494 |  | ok | -112.19 | 0.45 | 141.11 | 0.03 | -2.34 | 140 | 2013-08-11 08:14
FDU-428 | 6633966 | 1 | 6 | 12495 |  | ok | -116.11 | 0.37 | 145.52 | 0.02 | 1.18 | 140 | 2013-08-11 08:14
FDU-428 | 4794596 | 1 | 6 | 12496 |  | ok | -114.46 | 0.36 | 137.71 | 0.04 | -4.85 | 140 | 2013-08-11 08:14
FDU-428 | 4794957 | 1 | 6 | 12497 |  | ok | -115.68 | 0.38 | 128.8 | 0.04 | -2.49 | 140 | 2013-08-11 08:14
FDU-428 | 4771286 | 1 | 6 | 12498 |  | ok | -113.06 | 0.4 | 132.34 | 0.04 | -3 | 140 | 2013-08-11 08:14
FDU-428 | 4795536 | 1 | 6 | 12499 |  | ok | -113.06 | 0.37 | 141.59 | 0.03 | -3.29 | 140 | 2013-08-11 08:14
FDU-428 | 1790585 | 1 | 6 | 12500 |  | ok | -109.78 | 0.46 | 133.91 | 0.07 | -2.05 | 140 | 2013-08-11 08:14
FDU-428 | 1827935 | 1 | 6 | 12501 |  | ok | -111.65 | 0.45 | 137.76 | 0.02 | -2.33 | 140 | 2013-08-11 08:14
FDU-428 | 5854911 | 1 | 6 | 12502 |  | ok | -113.08 | 0.42 | 139.17 | 0.05 | 1.3 | 140 | 2013-08-11 08:14
FDU-428 | 1828146 | 1 | 6 | 12503 |  | ok | -112.98 | 0.48 | 133.75 | 0.05 | -1.78 | 140 | 2013-08-11 08:14
FDU-428 | 5284817 | 1 | 6 | 12504 |  | ok | -115.2 | 0.39 | 135.64 | 0.04 | -0.32 | 140 | 2013-08-11 08:14
FDU-428 | 5263685 | 1 | 6 | 12505 |  | ok | -117.08 | 0.36 | 125.23 | 0.03 | -1.91 | 140 | 2013-08-11 08:14
FDU-428 | 5879622 | 1 | 6 | 12506 |  | ok | -111.91 | 0.43 | 135.97 | 0.05 | 3.21 | 140 | 2013-08-11 08:14
FDU-428 | 5375661 | 1 | 6 | 12507 |  | ok | -111.5 | 0.42 | 137.32 | 0.05 | 0.62 | 140 | 2013-08-11 08:14
FDU-428 | 5865552 | 1 | 6 | 12508 |  | ok | -113.92 | 0.43 | 141.65 | 0.08 | 0.46 | 140 | 2013-08-11 08:14
FDU-428 | 5337762 | 1 | 6 | 12509 |  | ok | -111.2 | 0.41 | 143.45 | 0.02 | 0.96 | 140 | 2013-08-11 08:14
FDU-428 | 1529477 | 1 | 6 | 12510 |  | ok | -110.41 | 0.47 | 132.82 | 0.06 | -4.01 | 140 | 2013-08-11 08:14
FDU-428 | 1529915 | 1 | 6 | 12511 |  | ok | -111.53 | 0.42 | 133.84 | 0.04 | -3.05 | 140 | 2013-08-11 08:14
FDU-428 | 5009955 | 1 | 6 | 12512 |  | ok | -112.05 | 0.37 | 150.07 | 0.04 | -0.95 | 140 | 2013-08-11 08:14
FDU-428 | 5009256 | 1 | 6 | 12513 |  | ok | -116.81 | 0.35 | 137.3 | 0.05 | -3.26 | 140 | 2013-08-11 08:14
FDU-428 | 4274578 | 1 | 6 | 12514 |  | ok | -113.45 | 0.35 | 129.07 | 0 | -0.83 | 140 | 2013-08-11 08:14
FDU-428 | 4452525 | 1 | 6 | 12515 |  | ok | -121.11 | 0.34 | 129.43 | 0.05 | -2.92 | 140 | 2013-08-11 08:14
FDU-428 | 4028076 | 1 | 6 | 12516 |  | ok | -114.19 | 0.36 | 132.49 | 0.03 | -1.58 | 140 | 2013-08-11 08:14
FDU-428 | 5858713 | 1 | 6 | 12517 |  | ok | -112.18 | 0.41 | 144.98 | 0.04 | 1.29 | 140 | 2013-08-11 08:14
FDU-428 | 7147054 | 1 | 6 | 12518 |  | ok | -110.07 | 0.45 | 141.32 | 0.05 | -0.81 | 140 | 2013-08-11 08:14
FDU-428 | 6983482 | 1 | 6 | 12519 |  | ok | -111.02 | 0.46 | 138.98 | 0.04 | -2.13 | 140 | 2013-08-11 08:14
FDU-428 | 7289071 | 1 | 6 | 12520 |  | ok | -111.26 | 0.42 | 142.43 | 0.13 | 0.44 | 140 | 2013-08-11 08:14
FDU-428 | 7180081 | 1 | 6 | 12521 |  | ok | -112.46 | 0.46 | 127.85 | 0.05 | -1.84 | 140 | 2013-08-11 08:14
FDU-428 | 10694093 | 1 | 6 | 12522 |  | ok | -114.53 | 0.41 | 127.91 | 0.06 | 0.1 | 140 | 2013-08-11 08:14
FDU-428 | 10682724 | 1 | 6 | 12523 |  | ok | -113.07 | 0.35 | 138.53 | 0.03 | 0.31 | 140 | 2013-08-11 08:14
FDU-428 | 10701219 | 1 | 6 | 12524 |  | ok | -111.17 | 0.36 | 127.95 | 0.06 | -0.45 | 140 | 2013-08-11 08:14
FDU-428 | 6484245 | 1 | 6 | 12525 |  | ok | -113.93 | 0.35 | 134.3 | 0.04 | -0.68 | 140 | 2013-08-11 08:14
FDU-428 | 7148252 | 1 | 6 | 12526 |  | ok | -112.3 | 0.45 | 142.32 | 0.05 | -2.58 | 140 | 2013-08-11 08:14
FDU-428 | 1497937 | 1 | 6 | 12527 |  | ok | -109.02 | 0.42 | 137.26 | 0.04 | -1.45 | 140 | 2013-08-11 08:14
FDU-428 | 4547256 | 1 | 6 | 12528 |  | ok | -115.42 | 0.38 | 130.1 | 0.05 | 0.2 | 140 | 2013-08-11 08:14
FDU-428 | 6070588 | 1 | 6 | 12529 |  | ok | -116.9 | 0.36 | 130.26 | -0.01 | -0.59 | 140 | 2013-08-11 08:14
FDU-428 | 1265328 | 1 | 6 | 12530 |  | ok | -108.94 | 0.43 | 138.96 | 0.01 | 1.52 | 140 | 2013-08-11 08:14
FDU-428 | 1266697 | 1 | 6 | 12531 |  | ok | -107.27 | 0.46 | 150.16 | 0.04 | 2.3 | 140 | 2013-08-11 08:14
FDU-428 | 5286528 | 1 | 6 | 12532 |  | ok | -115.99 | 0.36 | 137.14 | 0.04 | 0.54 | 140 | 2013-08-11 08:14
FDU-428 | 1695574 | 1 | 6 | 12533 |  | ok | -110.41 | 0.44 | 138.73 | 0.05 | 1.83 | 140 | 2013-08-11 08:14
FDU-428 | 6344936 | 1 | 6 | 12534 |  | ok | -113.42 | 0.34 | 134.08 | 0.05 | -1.78 | 140 | 2013-08-11 08:14
FDU-428 | 6097017 | 1 | 6 | 12535 |  | ok | -114.17 | 0.36 | 135.8 | 0.03 | 0.21 | 140 | 2013-08-11 08:14
FDU-428 | 6030147 | 1 | 6 | 12536 |  | ok | -112.35 | 0.4 | 135.94 | 0.03 | -2.56 | 140 | 2013-08-11 08:14
FDU-428 | 6332117 | 1 | 6 | 12537 |  | ok | -114.38 | 0.36 | 126.04 | 0.04 | -2.18 | 140 | 2013-08-11 08:14
FDU-428 | 6454555 | 1 | 6 | 12538 |  | ok | -113.48 | 0.34 | 132.83 | 0.04 | 0.23 | 140 | 2013-08-11 08:14
FDU-428 | 6455237 | 1 | 6 | 12539 |  | ok | -113.17 | 0.33 | 143.09 | 0.03 | -0.76 | 140 | 2013-08-11 08:14
FDU-428 | 6503478 | 1 | 6 | 12540 |  | ok | -111.86 | 0.36 | 141.06 | 0.05 | -1.51 | 140 | 2013-08-11 08:14
FDU-428 | 6643615 | 1 | 6 | 12541 |  | ok | -115.38 | 0.35 | 132.91 | 0.04 | -0.96 | 140 | 2013-08-11 08:14
FDU-428 | 1498206 | 1 | 6 | 12542 |  | ok | -111.8 | 0.43 | 144.39 | 0.05 | -2.18 | 140 | 2013-08-11 08:14
FDU-428 | 1497535 | 1 | 6 | 12543 |  | ok | -110.63 | 0.45 | 146.32 | -0.03 | -2.31 | 140 | 2013-08-11 08:14
FDU-428 | 1497286 | 1 | 6 | 12544 |  | ok | -110.97 | 0.44 | 135.97 | 0.02 | 0.72 | 140 | 2013-08-11 08:14
FDU-428 | 7183612 | 1 | 6 | 12545 |  | ok | -111.83 | 0.42 | 135.87 | 0.04 | -1.32 | 140 | 2013-08-11 08:14

## GEO
---------------------
Comments:
Date format: M/d/yy h:mm:ss a
---------------------
Box Type | Serial Nb | Line Name | Point Nb | Resistance(ohm) | Tilt (%) | Leakage(Mo) | Latest Update | Noise (µV)
FDU-428 | 6053697 | 6 | 12206 | 846.62 | -0.19 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1524195 | 6 | 12207 | 845.36 | -0.02 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6457716 | 6 | 12208 | 844.52 | 0.02 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6501187 | 6 | 12209 | 844.31 | -0.14 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5285986 | 6 | 12210 | 844.73 | 0.07 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5282777 | 6 | 12211 | 845.8 | -0.11 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5008766 | 6 | 12212 | 846.61 | -0.05 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5016185 | 6 | 12213 | 845.96 | 0.38 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5044395 | 6 | 12214 | 844.17 | -0.37 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5040516 | 6 | 12215 | 846.26 | -0.11 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6640178 | 6 | 12216 | 846.63 | -0.49 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6642086 | 6 | 12217 | 845.08 | -0.51 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6499066 | 6 | 12218 | 846.2 | 0.06 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6666228 | 6 | 12219 | 844.58 | -0.22 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5025408 | 6 | 12220 | 846.61 | 0.03 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5007496 | 6 | 12221 | 847.67 | 0.03 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 7294744 | 6 | 12222 | 847.04 | -4.84 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6981384 | 6 | 12223 | 845.84 | 0.21 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 7180002 | 6 | 12224 | 846.09 | -0.05 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 7294211 | 6 | 12225 | 845.83 | -0.01 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5208225 | 6 | 12226 | 844.19 | -0.12 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5208345 | 6 | 12227 | 846.09 | -0.48 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6270546 | 6 | 12228 | 844.21 | -0.19 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6268568 | 6 | 12229 | 843.88 | 0.06 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6268666 | 6 | 12230 | 846.1 | 0.26 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 6268567 | 6 | 12231 | 845.24 | -0.14 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1027665 | 6 | 12232 | 845.64 | 0.02 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1021496 | 6 | 12233 | 845.2 | 0.15 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5291286 | 6 | 12234 | 843.74 | -0.06 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 5286745 | 6 | 12235 | 846.29 | 0.21 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1422047 | 6 | 12236 | 846.15 | -0.14 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1522117 | 6 | 12237 | 845.63 | 0.04 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 10677320 | 6 | 12238 | 845.15 | -0.15 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1130718 | 6 | 12239 | 843.13 | -5.43 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1405097 | 6 | 12240 | 843.81 | -0.44 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1449287 | 6 | 12241 | 844.08 | -0.23 | 5 | 2013-08-11 08:13 | 0
FDU-428 | 1451388 | 6 | 12242 | 845.42 | -0.15 | 5 | 2013-08-11 08:15 | 4.7
FDU-428 | 1446227 | 6 | 12243 | 843.4 | -0.21 | 5 | 2013-08-11 08:15 | 1.7
FDU-428 | 5053038 | 6 | 12244 | 844.4 | 0.12 | 5 | 2013-08-11 08:15 | 3.03
FDU-428 | 4937276 | 6 | 12245 | 844.72 | -0.2 | 5 | 2013-08-11 08:15 | 5.25
FDU-428 | 5380872 | 6 | 12246 | 844.78 | -0.24 | 5 | 2013-08-11 08:15 | 2.91
FDU-428 | 7942431 | 6 | 12247 | 847.23 | 0.21 | 5 | 2013-08-11 08:15 | 2.12
FDU-428 | 5859132 | 6 | 12248 | 845.18 | 0.02 | 5 | 2013-08-11 08:15 | 2.23
FDU-428 | 1131076 | 6 | 12249 | 844.76 | -0.13 | 5 | 2013-08-11 08:15 | 2.26
FDU-428 | 1442305 | 6 | 12250 | 843.69 | -0.17 | 5 | 2013-08-11 08:15 | 2.21
FDU-428 | 1495757 | 6 | 12251 | 845.74 | -0.71 | 5 | 2013-08-11 08:15 | 2.35
FDU-428 | 5995012 | 6 | 12252 | 845.29 | -0.18 | 5 | 2013-08-11 08:15 | 1.33
FDU-428 | 5995013 | 6 | 12253 | 846.27 | 0.03 | 5 | 2013-08-11 08:15 | 1.93
FDU-428 | 5251036 | 6 | 12254 | 845.97 | -0.2 | 5 | 2013-08-11 08:15 | 1.36
FDU-428 | 5258286 | 6 | 12255 | 846.37 | 0.06 | 5 | 2013-08-11 08:15 | 1.55
FDU-428 | 10682416 | 6 | 12256 | 847.95 | -0.02 | 5 | 2013-08-11 08:15 | 1.82
FDU-428 | 10539038 | 6 | 12257 | 845.37 | 0.05 | 5 | 2013-08-11 08:15 | 1.1
FDU-428 | 10687228 | 6 | 12258 | 844.62 | -0.42 | 5 | 2013-08-11 08:15 | 1.92
FDU-428 | 10697328 | 6 | 12259 | 845.14 | 0.01 | 5 | 2013-08-11 08:15 | 1.44
FDU-428 | 5374864 | 6 | 12260 | 846.59 | -0.03 | 5 | 2013-08-11 08:15 | 1.24
FDU-428 | 5375172 | 6 | 12261 | 845.78 | 0.06 | 5 | 2013-08-11 08:15 | 3.25
FDU-428 | 5375514 | 6 | 12262 | 844.49 | -0.46 | 5 | 2013-08-11 08:15 | 1.82
FDU-428 | 5375511 | 6 | 12263 | 844.12 | 11.29 | 5 | 2013-08-11 08:15 | 1.51
FDU-428 | 5992462 | 6 | 12264 | 845.72 | -0.27 | 5 | 2013-08-11 08:15 | 1.62
FDU-428 | 5992464 | 6 | 12265 | 845.56 | -0.01 | 5 | 2013-08-11 08:15 | 2.6
FDU-428 | 1694345 | 6 | 12266 | 844.97 | 0.12 | 5 | 2013-08-11 08:15 | 1.4
FDU-428 | 1697107 | 6 | 12267 | 843.76 | -0.05 | 5 | 2013-08-11 08:15 | 2.25
FDU-428 | 1029956 | 6 | 12268 | 845.06 | -0.11 | 5 | 2013-08-11 08:15 | 2.07
FDU-428 | 1029287 | 6 | 12269 | 845.59 | -0.39 | 5 | 2013-08-11 08:15 | 1.45
FDU-428 | 1604566 | 6 | 12270 | 844.64 | -0.16 | 5 | 2013-08-11 08:15 | 1.35
FDU-428 | 1149428 | 6 | 12271 | 844.89 | -0.53 | 5 | 2013-08-11 08:15 | 1.83
FDU-428 | 7942574 | 6 | 12272 | 844.19 | 0.2 | 5 | 2013-08-11 08:15 | 1.54
FDU-428 | 1600756 | 6 | 12273 | 843.72 | -0.25 | 5 | 2013-08-11 08:15 | 4.39
FDU-428 | 1499926 | 6 | 12274 | 844.93 | -0.07 | 5 | 2013-08-11 08:15 | 4.02
FDU-428 | 1370067 | 6 | 12275 | 844.11 | -0.12 | 5 | 2013-08-11 08:15 | 2.89
FDU-428 | 1431568 | 6 | 12276 | 845.61 | -0.06 | 5 | 2013-08-11 08:15 | 2.93
FDU-428 | 1358498 | 6 | 12277 | 845.83 | -0.25 | 5 | 2013-08-11 08:15 | 1.67
FDU-428 | 1542366 | 6 | 12278 | 846.75 | -0.04 | 5 | 2013-08-11 08:15 | 1.43
FDU-428 | 5256625 | 6 | 12279 | 844.31 | -0.35 | 5 | 2013-08-11 08:15 | 2.47
FDU-428 | 1228505 | 6 | 12280 | 845.6 | -0.18 | 5 | 2013-08-11 08:15 | 1.79
FDU-428 | 1151406 | 6 | 12281 | 846.15 | -0.09 | 5 | 2013-08-11 08:15 | 1.27
FDU-428 | 6980582 | 6 | 12282 | 846.43 | -0.15 | 5 | 2013-08-11 08:15 | 1.85
FDU-428 | 7144401 | 6 | 12283 | 844.92 | 0 | 5 | 2013-08-11 08:15 | 0.74
FDU-428 | 6980554 | 6 | 12284 | 845.82 | 0.06 | 5 | 2013-08-11 08:15 | 1.27
FDU-428 | 6985324 | 6 | 12285 | 846.07 | -0.32 | 5 | 2013-08-11 08:15 | 1.65
FDU-428 | 1029476 | 6 | 12286 | 847.9 | -0.09 | 5 | 2013-08-11 08:15 | 1.72
FDU-428 | 5887092 | 6 | 12287 | 845.83 | -0.24 | 5 | 2013-08-11 08:15 | 1.4
FDU-428 | 1499516 | 6 | 12288 | 847.23 | 0 | 5 | 2013-08-11 08:15 | 1.47
FDU-428 | 1131658 | 6 | 12289 | 845.56 | 0.07 | 5 | 2013-08-11 08:15 | 1.51
FDU-428 | 1499057 | 6 | 12290 | 844.74 | -0.34 | 5 | 2013-08-11 08:15 | 2.22
FDU-428 | 1537978 | 6 | 12291 | 846.21 | -0.23 | 5 | 2013-08-11 08:15 | 1.84
FDU-428 | 1028295 | 6 | 12292 | 847.13 | -0.28 | 5 | 2013-08-11 08:15 | 1.42
FDU-428 | 5288137 | 6 | 12293 | 846.8 | -0.21 | 5 | 2013-08-11 08:15 | 1.6
FDU-428 | 1637738 | 6 | 12294 | 845.35 | 0.21 | 5 | 2013-08-11 08:15 | 1.44
FDU-428 | 1686886 | 6 | 12295 | 845.29 | -0.34 | 5 | 2013-08-11 08:15 | 2.32
FDU-428 | 5282888 | 6 | 12296 | 846.12 | -0.12 | 5 | 2013-08-11 08:15 | 1.47
FDU-428 | 5215546 | 6 | 12297 | 845.09 | 0.09 | 5 | 2013-08-11 08:15 | 1.85
FDU-428 | 5007495 | 6 | 12298 | 845.57 | 0.03 | 5 | 2013-08-11 08:15 | 2.49
FDU-428 | 5024208 | 6 | 12299 | 845.59 | 0.06 | 5 | 2013-08-11 08:15 | 1.7
FDU-428 | 6345517 | 6 | 12300 | 846.22 | 0.16 | 5 | 2013-08-11 08:15 | 1.89
FDU-428 | 6332547 | 6 | 12301 | 846.12 | 0.18 | 5 | 2013-08-11 08:15 | 0.9
FDU-428 | 6484115 | 6 | 12302 | 845.51 | -0.03 | 5 | 2013-08-11 08:15 | 3.46
FDU-428 | 4453957 | 6 | 12303 | 847.16 | 0.35 | 5 | 2013-08-11 08:15 | 1.45
FDU-428 | 5284705 | 6 | 12304 | 845.66 | -0.04 | 5 | 2013-08-11 08:15 | 1.56
FDU-428 | 5285488 | 6 | 12305 | 845.74 | 0.1 | 5 | 2013-08-11 08:15 | 1.63
FDU-428 | 5266466 | 6 | 12306 | 845.21 | -0.09 | 5 | 2013-08-11 08:15 | 0.8
FDU-428 | 5262428 | 6 | 12307 | 844.38 | 0.05 | 5 | 2013-08-11 08:15 | 1.19
FDU-428 | 1522537 | 6 | 12308 | 846.04 | -0.27 | 5 | 2013-08-11 08:15 | 2.2
FDU-428 | 1536548 | 6 | 12309 | 845.35 | -0.27 | 5 | 2013-08-11 08:15 | 1.41
FDU-428 | 5007395 | 6 | 12310 | 845.19 | -0.13 | 5 | 2013-08-11 08:15 | 1.14
FDU-428 | 5024688 | 6 | 12311 | 844.97 | 0.07 | 5 | 2013-08-11 08:15 | 1.58
FDU-428 | 1523726 | 6 | 12312 | 845.81 | 0.05 | 5 | 2013-08-11 08:15 | 3.01
FDU-428 | 1537786 | 6 | 12313 | 845.99 | -0.1 | 5 | 2013-08-11 08:15 | 2.63
FDU-428 | 1498245 | 6 | 12314 | 844.15 | -0.39 | 5 | 2013-08-11 08:15 | 1.04
FDU-428 | 1449078 | 6 | 12315 | 846.74 | -0.2 | 5 | 2013-08-11 08:15 | 1.3
FDU-428 | 1448655 | 6 | 12316 | 845.01 | -0.18 | 5 | 2013-08-11 08:15 | 3.46
FDU-428 | 1537657 | 6 | 12317 | 845.56 | -0.35 | 5 | 2013-08-11 08:15 | 1.45
FDU-428 | 6500116 | 6 | 12318 | 845.06 | -0.04 | 5 | 2013-08-11 08:15 | 1.79
FDU-428 | 6508855 | 6 | 12319 | 844.49 | -0.42 | 5 | 2013-08-11 08:15 | 2.54
FDU-428 | 6666328 | 6 | 12320 | 844.74 | -0.12 | 5 | 2013-08-11 08:15 | 3.59
FDU-428 | 6500037 | 6 | 12321 | 845.72 | 0.05 | 5 | 2013-08-11 08:15 | 2.02
FDU-428 | 6501668 | 6 | 12322 | 845.79 | -0.54 | 5 | 2013-08-11 08:15 | 1.04
FDU-428 | 6502746 | 6 | 12323 | 846.14 | 0.13 | 5 | 2013-08-11 08:15 | 1.35
FDU-428 | 6483596 | 6 | 12324 | 843.98 | -5.27 | 5 | 2013-08-11 08:15 | 13.31
FDU-428 | 6499798 | 6 | 12325 | 846.11 | -0.21 | 5 | 2013-08-11 08:15 | 2.3
FDU-428 | 1530158 | 6 | 12326 | 845.51 | -0.29 | 5 | 2013-08-11 08:15 | 2.08
FDU-428 | 1540087 | 6 | 12327 | 843.45 | -0.17 | 5 | 2013-08-11 08:15 | 1.45
FDU-428 | 10684170 | 6 | 12328 | 845.62 | 0.07 | 5 | 2013-08-11 08:15 | 3.79
FDU-428 | 10539087 | 6 | 12329 | 846.89 | 0.02 | 5 | 2013-08-11 08:15 | 3.35
FDU-428 | 10694073 | 6 | 12330 | 846.7 | -0.13 | 5 | 2013-08-11 08:15 | 2.11
FDU-428 | 10693970 | 6 | 12331 | 846.34 | 0.01 | 5 | 2013-08-11 08:15 | 1.68
FDU-428 | 7294652 | 6 | 12332 | 846.29 | 0.08 | 5 | 2013-08-11 08:15 | 2.04
FDU-428 | 1711688 | 6 | 12333 | 845.13 | 0.25 | 5 | 2013-08-11 08:15 | 1.94
FDU-428 | 1827675 | 6 | 12334 | 845.83 | -0.46 | 5 | 2013-08-11 08:15 | 1.58
FDU-428 | 1712226 | 6 | 12335 | 846.12 | -0.38 | 5 | 2013-08-11 08:15 | 1.68
FDU-428 | 5019916 | 6 | 12336 | 845.71 | -0.08 | 5 | 2013-08-11 08:15 | 2.57
FDU-428 | 5005388 | 6 | 12337 | 846.44 | 0.34 | 5 | 2013-08-11 08:15 | 2.69
FDU-428 | 5879621 | 6 | 12338 | 846.15 | -0.23 | 5 | 2013-08-11 08:15 | 1.78
FDU-428 | 1165466 | 6 | 12339 | 847.25 | -0.35 | 5 | 2013-08-11 08:15 | 1.62
FDU-428 | 5253028 | 6 | 12340 | 846.43 | -0.36 | 5 | 2013-08-11 08:15 | 2.31
FDU-428 | 5282567 | 6 | 12341 | 845.94 | 0.18 | 5 | 2013-08-11 08:15 | 3.28
FDU-428 | 1498297 | 6 | 12342 | 844.7 | -0.21 | 5 | 2013-08-11 08:15 | 3.16
FDU-428 | 7292001 | 6 | 12343 | 843.36 | -0.08 | 5 | 2013-08-11 08:15 | 1.4
FDU-428 | 6499068 | 6 | 12344 | 844.49 | -0.37 | 5 | 2013-08-11 08:15 | 1.37
FDU-428 | 6983054 | 6 | 12345 | 842.09 | -0.42 | 5 | 2013-08-11 08:15 | 1.61
FDU-428 | 1340626 | 6 | 12346 | 843.43 | -0.03 | 5 | 2013-08-11 08:15 | 4.71
FDU-428 | 1423698 | 6 | 12347 | 843.9 | -0.76 | 5 | 2013-08-11 08:15 | 2.25
FDU-428 | 5028106 | 6 | 12348 | 845.01 | 0.28 | 5 | 2013-08-11 08:15 | 1.6
FDU-428 | 5055235 | 6 | 12349 | 845.4 | -0.14 | 5 | 2013-08-11 08:15 | 2.21
FDU-428 | 5995123 | 6 | 12350 | 845.33 | -0.65 | 5 | 2013-08-11 08:15 | 3.21
FDU-428 | 5986733 | 6 | 12351 | 842.93 | -0.23 | 5 | 2013-08-11 08:15 | 5.27
FDU-428 | 1021745 | 6 | 12352 | 843.44 | -5.01 | 5 | 2013-08-11 08:15 | 6.59
FDU-428 | 1021796 | 6 | 12353 | 843.46 | 0 | 5 | 2013-08-11 08:15 | 3.76
FDU-428 | 1529497 | 6 | 12354 | 843.45 | -0.19 | 5 | 2013-08-11 08:15 | 2.58
FDU-428 | 1530028 | 6 | 12355 | 845.55 | -0.06 | 5 | 2013-08-11 08:15 | 2.3
FDU-428 | 1028215 | 6 | 12356 | 844.98 | -0.04 | 5 | 2013-08-11 08:15 | 2.06
FDU-428 | 1028978 | 6 | 12357 | 844.53 | -0.35 | 5 | 2013-08-11 08:15 | 3.51
FDU-428 | 6312657 | 6 | 12358 | 844.19 | -0.18 | 5 | 2013-08-11 08:15 | 2.45
FDU-428 | 6311055 | 6 | 12359 | 845.57 | -0.39 | 5 | 2013-08-11 08:15 | 1.42
FDU-428 | 6341168 | 6 | 12360 | 844.98 | 0.19 | 5 | 2013-08-11 08:15 | 2.22
FDU-428 | 6603555 | 6 | 12361 | 843.18 | -0.32 | 5 | 2013-08-11 08:15 | 1.37
FDU-428 | 6550515 | 6 | 12362 | 844.17 | -0.13 | 5 | 2013-08-11 08:15 | 2.07
FDU-428 | 6434648 | 6 | 12363 | 843.8 | 0.21 | 5 | 2013-08-11 08:15 | 5.09
FDU-428 | 6293938 | 6 | 12364 | 845.44 | 0.09 | 5 | 2013-08-11 08:15 | 2.34
FDU-428 | 6550517 | 6 | 12365 | 843.64 | -0.73 | 5 | 2013-08-11 08:15 | 2.36
FDU-428 | 1540855 | 6 | 12366 | 843.69 | -0.29 | 5 | 2013-08-11 08:15 | 1.76
FDU-428 | 1549835 | 6 | 12367 | 845.04 | -0.15 | 5 | 2013-08-11 08:15 | 2.6
FDU-428 | 1146017 | 6 | 12368 | 846.06 | -0.28 | 5 | 2013-08-11 08:15 | 1.17
FDU-428 | 5884603 | 6 | 12369 | 844.85 | -0.28 | 5 | 2013-08-11 08:15 | 2.16
FDU-428 | 5223836 | 6 | 12370 | 844.52 | -0.67 | 5 | 2013-08-11 08:15 | 3.96
FDU-428 | 5297715 | 6 | 12371 | 844.53 | -0.4 | 5 | 2013-08-11 08:15 | 3.6
FDU-428 | 5773911 | 6 | 12372 | 843.48 | -0.38 | 5 | 2013-08-11 08:15 | 4.05
FDU-428 | 5368274 | 6 | 12373 | 844.17 | -0.04 | 5 | 2013-08-11 08:15 | 3.05
FDU-428 | 6057196 | 6 | 12374 | 844.85 | -0.3 | 5 | 2013-08-11 08:15 | 2.13
FDU-428 | 6034936 | 6 | 12375 | 844.76 | -0.22 | 5 | 2013-08-11 08:15 | 1.47
FDU-428 | 6448617 | 6 | 12376 | 844.17 | -0.16 | 5 | 2013-08-11 08:15 | 2.48
FDU-428 | 6067236 | 6 | 12377 | 844.23 | -0.02 | 5 | 2013-08-11 08:15 | 1.54
FDU-428 | 5865943 | 6 | 12378 | 843.75 | -0.04 | 5 | 2013-08-11 08:15 | 1.6
FDU-428 | 5865944 | 6 | 12379 | 844.32 | -0.18 | 5 | 2013-08-11 08:15 | 2.73
FDU-428 | 7180653 | 6 | 12380 | 844.68 | 0.02 | 5 | 2013-08-11 08:15 | 1.97
FDU-428 | 7293711 | 6 | 12381 | 844.03 | -0.31 | 5 | 2013-08-11 08:15 | 1.96
FDU-428 | 5379702 | 6 | 12382 | 845.04 | -0.4 | 5 | 2013-08-11 08:15 | 1.53
FDU-428 | 5379691 | 6 | 12383 | 845.58 | 0.01 | 5 | 2013-08-11 08:15 | 1.4
FDU-428 | 5026105 | 6 | 12384 | 843.72 | 0 | 5 | 2013-08-11 08:15 | 1.29
FDU-428 | 5023687 | 6 | 12385 | 843.47 | -0.11 | 5 | 2013-08-11 08:15 | 2.63
FDU-428 | 5368533 | 6 | 12386 | 846.41 | -0.24 | 5 | 2013-08-11 08:15 | 3.78
FDU-428 | 5865534 | 6 | 12387 | 844.91 | -0.22 | 5 | 2013-08-11 08:15 | 3.91
FDU-428 | 6502977 | 6 | 12388 | 843.35 | 0.05 | 5 | 2013-08-11 08:15 | 2.06
FDU-428 | 6456906 | 6 | 12389 | 844.08 | -0.07 | 5 | 2013-08-11 08:15 | 2.24
FDU-428 | 6456895 | 6 | 12390 | 844.06 | -0.14 | 5 | 2013-08-11 08:15 | 1.26
FDU-428 | 6510768 | 6 | 12391 | 844.8 | -0.35 | 5 | 2013-08-11 08:15 | 2.88
FDU-428 | 6101476 | 6 | 12392 | 844.83 | -0.02 | 5 | 2013-08-11 08:15 | 1.22
FDU-428 | 6497945 | 6 | 12393 | 844.16 | -0.04 | 5 | 2013-08-11 08:15 | 1.29
FDU-428 | 6497948 | 6 | 12394 | 843.94 | -0.22 | 5 | 2013-08-11 08:15 | 1.66
FDU-428 | 6056365 | 6 | 12395 | 844.82 | -0.13 | 5 | 2013-08-11 08:15 | 1.27
FDU-428 | 4608688 | 6 | 12396 | 845 | -0.36 | 5 | 2013-08-11 08:15 | 2.29
FDU-428 | 4713278 | 6 | 12397 | 842.4 | -0.45 | 5 | 2013-08-11 08:15 | 0.98
FDU-428 | 4714085 | 6 | 12398 | 842.63 | 0 | 5 | 2013-08-11 08:15 | 1.45
FDU-428 | 4759666 | 6 | 12399 | 844.53 | -0.22 | 5 | 2013-08-11 08:15 | 2.51
FDU-428 | 5027186 | 6 | 12400 | 843.71 | -0.03 | 5 | 2013-08-11 08:15 | 1.55
FDU-428 | 5008768 | 6 | 12401 | 844.03 | -0.21 | 5 | 2013-08-11 08:15 | 1.77
FDU-428 | 5994154 | 6 | 12402 | 843.65 | -0.29 | 5 | 2013-08-11 08:15 | 1.71
FDU-428 | 5924991 | 6 | 12403 | 843.16 | -0.17 | 5 | 2013-08-11 08:15 | 5.41
FDU-428 | 10539631 | 6 | 12404 | 844.11 | -0.13 | 5 | 2013-08-11 08:15 | 1.07
FDU-428 | 10539435 | 6 | 12405 | 845.04 | 0.03 | 5 | 2013-08-11 08:15 | 1.52
FDU-428 | 10539548 | 6 | 12406 | 841.63 | 0.23 | 5 | 2013-08-11 08:15 | 1.13
FDU-428 | 10539549 | 6 | 12407 | 844.94 | -0.25 | 5 | 2013-08-11 08:15 | 1.24
FDU-428 | 1536765 | 6 | 12408 | 846.31 | -0.12 | 5 | 2013-08-11 08:15 | 1.4
FDU-428 | 1547578 | 6 | 12409 | 845.43 | -0.38 | 5 | 2013-08-11 08:15 | 3.67
FDU-428 | 4752898 | 6 | 12410 | 845.6 | 0 | 5 | 2013-08-11 08:15 | 1.76
FDU-428 | 4757555 | 6 | 12411 | 844.82 | 0.09 | 5 | 2013-08-11 08:15 | 1.55
FDU-428 | 4759767 | 6 | 12412 | 844.36 | -0.47 | 5 | 2013-08-11 08:15 | 2.46
FDU-428 | 4724948 | 6 | 12413 | 843.66 | -0.37 | 5 | 2013-08-11 08:15 | 3.6
FDU-428 | 5210688 | 6 | 12414 | 844.71 | -0.07 | 5 | 2013-08-11 08:15 | 4.35
FDU-428 | 5243997 | 6 | 12415 | 843.62 | -0.65 | 5 | 2013-08-11 08:15 | 3.42
FDU-428 | 1196638 | 6 | 12416 | 845.39 | 0.05 | 5 | 2013-08-11 08:15 | 2.84
FDU-428 | 1203777 | 6 | 12417 | 842.35 | -0.29 | 5 | 2013-08-11 08:15 | 2.52
FDU-428 | 1163585 | 6 | 12418 | 845.1 | -0.25 | 5 | 2013-08-11 08:15 | 2.4
FDU-428 | 5264537 | 6 | 12419 | 844.89 | -0.04 | 5 | 2013-08-11 08:15 | 3.34
FDU-428 | 5866214 | 6 | 12420 | 842.43 | -0.08 | 5 | 2013-08-11 08:15 | 2.49
FDU-428 | 7933673 | 6 | 12421 | 845.72 | -0.21 | 5 | 2013-08-11 08:15 | 2.16
FDU-428 | 5264006 | 6 | 12422 | 845.06 | 0.01 | 5 | 2013-08-11 08:15 | 4.88
FDU-428 | 5266908 | 6 | 12423 | 844.9 | -0.01 | 5 | 2013-08-11 08:15 | 1.79
FDU-428 | 5996481 | 6 | 12424 | 845.35 | -0.22 | 5 | 2013-08-11 08:15 | 2.49
FDU-428 | 1783325 | 6 | 12425 | 844.64 | -0.35 | 5 | 2013-08-11 08:15 | 9.43
FDU-428 | 1029887 | 6 | 12426 | 845.87 | -0.3 | 5 | 2013-08-11 08:15 | 1.59
FDU-428 | 1030206 | 6 | 12427 | 844.86 | -0.22 | 5 | 2013-08-11 08:15 | 2.88
FDU-428 | 5030335 | 6 | 12428 | 845.35 | -0.05 | 5 | 2013-08-11 08:15 | 2.46
FDU-428 | 5030135 | 6 | 12429 | 845.38 | 0 | 5 | 2013-08-11 08:15 | 1.17
FDU-428 | 1271116 | 6 | 12430 | 844.24 | -0.27 | 5 | 2013-08-11 08:15 | 1.34
FDU-428 | 1271115 | 6 | 12431 | 844.55 | -0.34 | 5 | 2013-08-11 08:15 | 1.09
FDU-428 | 1530735 | 6 | 12432 | 843.82 | -0.17 | 5 | 2013-08-11 08:15 | 1.82
FDU-428 | 1000477 | 6 | 12433 | 845.33 | 0.04 | 5 | 2013-08-11 08:15 | 4.69
FDU-428 | 5335254 | 6 | 12434 | 844.74 | -0.35 | 5 | 2013-08-11 08:15 | 1.87
FDU-428 | 5335223 | 6 | 12435 | 845.08 | -0.29 | 5 | 2013-08-11 08:15 | 2.26
FDU-428 | 6499007 | 6 | 12436 | 844.77 | -0.09 | 5 | 2013-08-11 08:15 | 3.91
FDU-428 | 6499005 | 6 | 12437 | 844.83 | 0.16 | 5 | 2013-08-11 08:15 | 3.22
FDU-428 | 6498878 | 6 | 12438 | 845.3 | -0.03 | 5 | 2013-08-11 08:15 | 3.76
FDU-428 | 6266676 | 6 | 12439 | 848.26 | 0.67 | 5 | 2013-08-11 08:15 | 2.92
FDU-428 | 5252668 | 6 | 12440 | 844.08 | -0.32 | 5 | 2013-08-11 08:15 | 4.55
FDU-428 | 5257598 | 6 | 12441 | 846.21 | 0.12 | 5 | 2013-08-11 08:15 | 2.58
FDU-428 | 4936826 | 6 | 12442 | 843.93 | -0.29 | 5 | 2013-08-11 08:15 | 1.36
FDU-428 | 5061587 | 6 | 12443 | 843.76 | 0.11 | 5 | 2013-08-11 08:15 | 2.31
FDU-428 | 1521386 | 6 | 12444 | 846.21 | -0.26 | 5 | 2013-08-11 08:15 | 2.25
FDU-428 | 1138125 | 6 | 12445 | 844.17 | -0.48 | 5 | 2013-08-11 08:15 | 2.9
FDU-428 | 5234478 | 6 | 12446 | 843.77 | -0.14 | 5 | 2013-08-11 08:15 | 3.82
FDU-428 | 5255986 | 6 | 12447 | 844.3 | -0.03 | 5 | 2013-08-11 08:15 | 4.33
FDU-428 | 5993151 | 6 | 12448 | 844.34 | -0.36 | 5 | 2013-08-11 08:15 | 2.03
FDU-428 | 5887813 | 6 | 12449 | 846.31 | -0.1 | 5 | 2013-08-11 08:15 | 1.12
FDU-428 | 5251096 | 6 | 12450 | 843.94 | 0.01 | 5 | 2013-08-11 08:15 | 2.09
FDU-428 | 5266616 | 6 | 12451 | 844.73 | -0.13 | 5 | 2013-08-11 08:15 | 0.98
FDU-428 | 1521878 | 6 | 12452 | 843.92 | -0.51 | 5 | 2013-08-11 08:15 | 1.7
FDU-428 | 1399715 | 6 | 12453 | 845.26 | 0.12 | 5 | 2013-08-11 08:15 | 1.5
FDU-428 | 1498467 | 6 | 12454 | 844.72 | -0.35 | 5 | 2013-08-11 08:15 | 1.99
FDU-428 | 1603018 | 6 | 12455 | 843.3 | -0.39 | 5 | 2013-08-11 08:15 | 1.46
FDU-428 | 6038477 | 6 | 12456 | 845.34 | -0.37 | 5 | 2013-08-11 08:15 | 3.58
FDU-428 | 6279508 | 6 | 12457 | 844.99 | 0.17 | 5 | 2013-08-11 08:15 | 2.88
FDU-428 | 6073207 | 6 | 12458 | 845.6 | -0.06 | 5 | 2013-08-11 08:15 | 3.42
FDU-428 | 6640016 | 6 | 12459 | 845.22 | -0.08 | 5 | 2013-08-11 08:15 | 1.89
FDU-428 | 5373642 | 6 | 12460 | 845.78 | -0.17 | 5 | 2013-08-11 08:15 | 2.2
FDU-428 | 5877713 | 6 | 12461 | 845.45 | -0.58 | 5 | 2013-08-11 08:15 | 1.42
FDU-428 | 2322116 | 6 | 12462 | 845.39 | -0.11 | 5 | 2013-08-11 08:15 | 1.1
FDU-428 | 2315937 | 6 | 12463 | 843.98 | -0.16 | 5 | 2013-08-11 08:15 | 1.7
FDU-428 | 2329055 | 6 | 12464 | 844.39 | -0.15 | 5 | 2013-08-11 08:15 | 5.08
FDU-428 | 2323996 | 6 | 12465 | 843 | -0.32 | 5 | 2013-08-11 08:15 | 2.99
FDU-428 | 10695483 | 6 | 12466 | 845.34 | -0.27 | 5 | 2013-08-11 08:15 | 5.94
FDU-428 | 10678000 | 6 | 12467 | 843.83 | -0.18 | 5 | 2013-08-11 08:15 | 1.89
FDU-428 | 10658418 | 6 | 12468 | 844.47 | -0.31 | 5 | 2013-08-11 08:15 | 1.95
FDU-428 | 10684679 | 6 | 12469 | 844.31 | -0.25 | 5 | 2013-08-11 08:15 | 2.29
FDU-428 | 10539688 | 6 | 12470 | 846.04 | -0.08 | 5 | 2013-08-11 08:15 | 1.22
FDU-428 | 10539687 | 6 | 12471 | 843.86 | -0.13 | 5 | 2013-08-11 08:15 | 2.25
FDU-428 | 10539689 | 6 | 12472 | 845.62 | -0.21 | 5 | 2013-08-11 08:15 | 1.16
FDU-428 | 10539583 | 6 | 12473 | 844.36 | 0.05 | 5 | 2013-08-11 08:15 | 4.11
FDU-428 | 10542270 | 6 | 12474 | 842.79 | 0.31 | 5 | 2013-08-11 08:15 | 1.82
FDU-428 | 10542301 | 6 | 12475 | 845.68 | -0.2 | 5 | 2013-08-11 08:15 | 2.12
FDU-428 | 10541867 | 6 | 12476 | 844.58 | 0.07 | 5 | 2013-08-11 08:15 | 1.99
FDU-428 | 10539756 | 6 | 12477 | 844.47 | -0.05 | 5 | 2013-08-11 08:15 | 1.98
FDU-428 | 5215695 | 6 | 12478 | 843.38 | -0.16 | 5 | 2013-08-11 08:15 | 2.14
FDU-428 | 5245237 | 6 | 12479 | 843.22 | -0.28 | 5 | 2013-08-11 08:15 | 4.06
FDU-428 | 1791288 | 6 | 12480 | 843.82 | -0.08 | 5 | 2013-08-11 08:15 | 2.71
FDU-428 | 1793735 | 6 | 12481 | 843.5 | -0.21 | 5 | 2013-08-11 08:15 | 7.88
FDU-428 | 1721495 | 6 | 12482 | 844.54 | -0.06 | 5 | 2013-08-11 08:15 | 7.83
FDU-428 | 1824788 | 6 | 12483 | 844.75 | -0.09 | 5 | 2013-08-11 08:15 | 4.86
FDU-428 | 1137925 | 6 | 12484 | 846.99 | -0.22 | 5 | 2013-08-11 08:15 | 2.18
FDU-428 | 1448756 | 6 | 12485 | 844.66 | -0.13 | 5 | 2013-08-11 08:15 | 3.87
FDU-428 | 1328006 | 6 | 12486 | 846.3 | -0.07 | 5 | 2013-08-11 08:15 | 1.65
FDU-428 | 1419755 | 6 | 12487 | 844.97 | 0.08 | 5 | 2013-08-11 08:15 | 2.9
FDU-428 | 5286386 | 6 | 12488 | 844.59 | -0.03 | 5 | 2013-08-11 08:15 | 1.11
FDU-428 | 5262745 | 6 | 12489 | 844.72 | -0.18 | 5 | 2013-08-11 08:15 | 1.24
FDU-428 | 5219867 | 6 | 12490 | 844.31 | -0.29 | 5 | 2013-08-11 08:15 | 2.18
FDU-428 | 5243978 | 6 | 12491 | 845.44 | -0.23 | 5 | 2013-08-11 08:15 | 2.03
FDU-428 | 7149292 | 6 | 12492 | 844.95 | -0.02 | 5 | 2013-08-11 08:15 | 1.69
FDU-428 | 1788828 | 6 | 12493 | 844.45 | -0.27 | 5 | 2013-08-11 08:15 | 2.59
FDU-428 | 1828127 | 6 | 12494 | 843.86 | -0.48 | 5 | 2013-08-11 08:15 | 2.2
FDU-428 | 6633966 | 6 | 12495 | 844.53 | 0.04 | 5 | 2013-08-11 08:15 | 2.85
FDU-428 | 4794596 | 6 | 12496 | 843.95 | 0.17 | 5 | 2013-08-11 08:15 | 2.41
FDU-428 | 4794957 | 6 | 12497 | 844.03 | 0.2 | 5 | 2013-08-11 08:15 | 4.13
FDU-428 | 4771286 | 6 | 12498 | 844.65 | -0.12 | 5 | 2013-08-11 08:15 | 1.93
FDU-428 | 4795536 | 6 | 12499 | 843.71 | -0.14 | 5 | 2013-08-11 08:15 | 3.91
FDU-428 | 1790585 | 6 | 12500 | 844.58 | -0.14 | 5 | 2013-08-11 08:15 | 1.62
FDU-428 | 1827935 | 6 | 12501 | 844.48 | 0.07 | 5 | 2013-08-11 08:15 | 1.67
FDU-428 | 5854911 | 6 | 12502 | 842.73 | 0.12 | 5 | 2013-08-11 08:15 | 2.47
FDU-428 | 1828146 | 6 | 12503 | 842.46 | 0 | 5 | 2013-08-11 08:15 | 2.16
FDU-428 | 5284817 | 6 | 12504 | 843.5 | -0.08 | 5 | 2013-08-11 08:15 | 8.35
FDU-428 | 5263685 | 6 | 12505 | 842.06 | -0.2 | 5 | 2013-08-11 08:15 | 2.54
FDU-428 | 5879622 | 6 | 12506 | 844.37 | -0.37 | 5 | 2013-08-11 08:15 | 2.53
FDU-428 | 5375661 | 6 | 12507 | 842.71 | -0.03 | 5 | 2013-08-11 08:15 | 4.12
FDU-428 | 5865552 | 6 | 12508 | 843.85 | -0.17 | 5 | 2013-08-11 08:15 | 3.11
FDU-428 | 5337762 | 6 | 12509 | 841.27 | -0.05 | 5 | 2013-08-11 08:15 | 2
FDU-428 | 1529477 | 6 | 12510 | 843.31 | -0.28 | 5 | 2013-08-11 08:15 | 2.77
FDU-428 | 1529915 | 6 | 12511 | 842.4 | -0.21 | 5 | 2013-08-11 08:15 | 1.61
FDU-428 | 5009955 | 6 | 12512 | 842.96 | -0.06 | 5 | 2013-08-11 08:15 | 1.56
FDU-428 | 5009256 | 6 | 12513 | 841.97 | 0.02 | 5 | 2013-08-11 08:15 | 3.45
FDU-428 | 4274578 | 6 | 12514 | 842.66 | -0.29 | 5 | 2013-08-11 08:15 | 3.46
FDU-428 | 4452525 | 6 | 12515 | 843.16 | -0.14 | 5 | 2013-08-11 08:15 | 2.2
FDU-428 | 4028076 | 6 | 12516 | 841.82 | -0.14 | 5 | 2013-08-11 08:15 | 1.93
FDU-428 | 5858713 | 6 | 12517 | 842.94 | -0.39 | 5 | 2013-08-11 08:15 | 1.51
FDU-428 | 7147054 | 6 | 12518 | 842.61 | -0.11 | 5 | 2013-08-11 08:15 | 2.62
FDU-428 | 6983482 | 6 | 12519 | 842.44 | -0.04 | 5 | 2013-08-11 08:15 | 2.82
FDU-428 | 7289071 | 6 | 12520 | 842.12 | -0.38 | 5 | 2013-08-11 08:15 | 1.44
FDU-428 | 7180081 | 6 | 12521 | 842.68 | -0.23 | 5 | 2013-08-11 08:15 | 1.65
FDU-428 | 10694093 | 6 | 12522 | 845.29 | -0.11 | 5 | 2013-08-11 08:15 | 1.22
FDU-428 | 10682724 | 6 | 12523 | 844.46 | -0.02 | 5 | 2013-08-11 08:15 | 1.16
FDU-428 | 10701219 | 6 | 12524 | 843.02 | -0.3 | 5 | 2013-08-11 08:15 | 1.26
FDU-428 | 6484245 | 6 | 12525 | 842.64 | -0.49 | 5 | 2013-08-11 08:15 | 1.71
FDU-428 | 7148252 | 6 | 12526 | 841.52 | 0 | 5 | 2013-08-11 08:15 | 3.09
FDU-428 | 1497937 | 6 | 12527 | 845.08 | 0.19 | 5 | 2013-08-11 08:15 | 2.54
FDU-428 | 4547256 | 6 | 12528 | 844.53 | -1.29 | 5 | 2013-08-11 08:15 | 2.09
FDU-428 | 6070588 | 6 | 12529 | 843.79 | 0.04 | 5 | 2013-08-11 08:15 | 1.92
FDU-428 | 1265328 | 6 | 12530 | 842.59 | 0.02 | 5 | 2013-08-11 08:15 | 2.59
FDU-428 | 1266697 | 6 | 12531 | 842.65 | -5.17 | 5 | 2013-08-11 08:15 | 2.58
FDU-428 | 5286528 | 6 | 12532 | 843.43 | -0.29 | 5 | 2013-08-11 08:15 | 1.59
FDU-428 | 1695574 | 6 | 12533 | 843.73 | 0.12 | 5 | 2013-08-11 08:15 | 1.63
FDU-428 | 6344936 | 6 | 12534 | 842.7 | 0.32 | 5 | 2013-08-11 08:15 | 1.81
FDU-428 | 6097017 | 6 | 12535 | 843.75 | -0.15 | 5 | 2013-08-11 08:15 | 0.91
FDU-428 | 6030147 | 6 | 12536 | 843.57 | -0.29 | 5 | 2013-08-11 08:15 | 1.32
FDU-428 | 6332117 | 6 | 12537 | 843.89 | -0.17 | 5 | 2013-08-11 08:15 | 1.86
FDU-428 | 6454555 | 6 | 12538 | 844.43 | -0.17 | 5 | 2013-08-11 08:15 | 2.27
FDU-428 | 6455237 | 6 | 12539 | 843.6 | 0.03 | 5 | 2013-08-11 08:15 | 3.83
FDU-428 | 6503478 | 6 | 12540 | 844.31 | -0.27 | 5 | 2013-08-11 08:15 | 1.65
FDU-428 | 6643615 | 6 | 12541 | 842.74 | -0.66 | 5 | 2013-08-11 08:15 | 1.8
FDU-428 | 1498206 | 6 | 12542 | 843.42 | -0.41 | 5 | 2013-08-11 08:15 | 2.29
FDU-428 | 1497535 | 6 | 12543 | 843 | -0.12 | 5 | 2013-08-11 08:15 | 3.17
FDU-428 | 1497286 | 6 | 12544 | 842.75 | -0.04 | 5 | 2013-08-11 08:15 | 2.89
FDU-428 | 7183612 | 6 | 12545 | 842.6 | -0.12 | 5 | 2013-08-11 08:15 | 3.37

## Dailys Obs Log
TERREX SEISMIC CREW 401
Client: SANTOS Prospect: 2013 SOUTHERN AMADEUS 2D SEISMIC SURVEY
Field Instrument: Sercel 428 Sample Rate: 2 MS Record Length: 5 Seconds
Field Filter: 0.8 Nyquist Linear Phase .8nyq @ 2ms = 200hz Pre-Amp Gain: 12 dB
Noise Editing: Div (ON) Correlation: AFTER STACK Auxillaries: Pilot, Auto-Correl.
Vibrator: IVI HEMI 50 x 3 Vib Control: Vib Pro Sweep Length: 4 X 4 Seconds
Vib Array: 3 Vibes, Centered on half station, 70% Force
Sweep: 2 X MONOSWEEP: 12 - 80HZ x 4 Sec, 25m source (vp)
Walk In/Out: YES SWEEP: LINEAR 0.25 Start Taper 0.25 End Taper
Geophone Array: 12 in line 2.0833m apart centred on peg, Station Interval: 25m.
File # | Shot # | Swath | ITB | Tape # | Point Number | Line Name | Live Seis | Nb Of Seis Traces | Date | Comment
90826 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:13 | N/A | INSTR NOISE
90827 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:14 | N/A | INSTR DISTO
90828 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:14 | N/A | INSTR GAIN PHASE
90829 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:14 | N/A | INSTR CROSSTALK
90830 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:14 | N/A | INSTR PULSE
90831 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:14 | N/A | INSTR CMRR
90832 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:14 | N/A | SENSOR NOISE
90833 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:15 | N/A | SENSOR PULSE
90834 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:15 | N/A | SENSOR RESISTANCE
90835 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:15 | N/A | SENSOR TILT
90836 | 0 | Test | FALSE | 8000 | 0 | 0 | 6:12242-12545(1-304) | 304 | 2013-08-11 08:15 | N/A | SENSOR LEAKAGE