## A
CALIBRATION REPORT |  |  |  |  | PALM VALLEY No.5
03 December 1989 (Before Test) |  |  |  |  | Dead Weight Test
| Barometric Pressure (mb) : |  | 914.9
| D.W.T. | Vaetrix Gauge (kPa(g)) |  | MRO - 1550 Gauge (kPa(g))
| (kPa) | RUN 1 | RUN 2 | RUN 1 |  | RUN 2
| 0 | 118 | 123 | 0 |  | -
| 1000 | 1107 | 1113 | 998 |  | -
| 2000 | 2110 | 2107 | 1997 |  | -
| 3000 | 3114 | 3110 | 2996 |  | -
| 4000 | 4117 | 4104 | 3995 |  | -
| 5000 | 5111 | 5108 | 4994 |  | -
| 6000 | 6105 | 6102 | 5991 |  | -
| 7000 | 7108 | 7105 | 6990 |  | -
| 8000 | 8106 | 8103 | 7988 |  | -
| 9000 | 9112 | 9110 | 8986 |  | -
| 10000 | 10109 | 10107 | 9983 |  | -
| 11000 | 11107 | 11105 | 10980 |  | -
| 12000 | 12113 | 12111 | 11976 |  | -
| 13000 | 13111 | 13109 | 12973 |  | -
| 14000 | 14108 | 14107 | 13969 |  | -
| 15000 | 15106 | 15105 | 14965 |  | -
| 16000 | 16104 | 16103 | 15962 |  | -
| 17000 | 17102 | 17101 | 16957 |  | -
| 18000 | 18101 | 18101 | 17953 |  | -
| 19000 | 19102 | 19102 | 18948 |  | -
| 20000 | 20103 | 20095 | 19941 |  | -
16 November 1990 (After Test)
| Barometric Pressure (mb) : |  | 916.1
| D.W.T. | Vaetrix Gauge (kPa(g)) |  | MRO - 1550 Gauge (kPa(g))
| (kPa) | RUN 1 | RUN 2 | RUN 1 |  | RUN 2
| 0 | 126 | 115 |  |  | -
| 1000 | 1124 | 1115 | 999 |  | -
| 2000 | 2118 | 2109 | 1999 |  | -
| 3000 | 3122 | 3113 | 2999 |  | -
| 4000 | 4116 | 4107 | 3998 |  | -
| 5000 | 5119 | 5111 | 4997 |  | -
| 6000 | 6113 | 6105 | 5996 |  | -
| 7000 | 7117 | 7109 | 6995 |  | -
| 8000 | 8114 | 8107 | 7993 |  | -
| 9000 | 9112 | 9114 | 8991 |  | -
| 10000 | 10119 | 10112 | 9989 |  | -
| 11000 | 11116 | 11109 | 10987 |  | -
| 12000 | 12114 | 12107 | 11985 |  | -
| 13000 | 13111 | 13105 | 12982 |  | -
| 14000 | 14109 | 14103 | 13979 |  | -
| 15000 | 15115 | 15110 | 14976 |  | -
| 16000 | 16112 | 16108 | 15972 |  | -
| 17000 | 17110 | 17106 | 16968 |  | -
| 18000 | 18109 | 18107 | 17964 |  | -
| 19000 | 19101 | 19100 | 18961 |  | -
| 20000 | 20102 | 20102 | 19955 |  | -

## B
CALIBRATION REPORT |  |  | #N/A
TUBING HEAD PRESSURE CALIBRATION
Measured | Vaetrix | Calibrated | Instantaneous | Instantaneous | ADJUST | INCREMNT
Depth | Pressure | Pressure | Flow Rate | Flow Rate
(m) | kPa (g) | kPa (a) | #N/A | (Mcfpd) | (kPa a) | (kPa a)
0 | - | - | - | - | #N/A | #VALUE!
304.8 | - | - | - | - | #N/A | #VALUE!
609.3 | - | - | - | - | #N/A | #VALUE!
914.4 | - | - | - | - | #N/A | #VALUE!
1219.2 | - | - | - | - | #N/A | #VALUE!
1295.4 | - | - | - | - | #N/A | #VALUE!
1371.6 | - | - | - | - | #N/A | #VALUE!
1447.8 | - | - | - | - | #N/A | #VALUE!
1493.8248 | 2632 | #VALUE! | - | - | 2091.55 | #VALUE!
|  |  | - | - | #N/A | #VALUE!
|  |  | - | - | #N/A | #VALUE!
[5 empty] | #N/A | #VALUE!
|  |  | - | - | #N/A | #VALUE!
|  |  | - | - | #N/A | #VALUE!
1493.8248 | - | - | - | - | #N/A | #VALUE!
1447.8 | - | - | - | - | #N/A | #VALUE!
1371.6 | - | - | - | - | #N/A | #VALUE!
1295.4 | - | - | - | - | #N/A | #VALUE!
1219.2 | - | - | - | - | #N/A | #VALUE!
914.4 | - | - | - | - | #N/A | #VALUE!
609.3 | - | - | - | - | #N/A | #VALUE!
304.8 | - | - | - | - | #N/A | #VALUE!
0 | 2248 | #VALUE! | - | - | 2091.55 | #VALUE!
MRO GAUGE PRESSURE CALIBRATION
#N/A
(Using a linear regression)

## C
VAETRIX GAUGE |  |  | PRESSURE CALIBRATION
MRO GAUGE CALIBRATION - LINEAR REGRESSION
Dead |  | Vaetrix Gauge (kPa(g)) | [5 empty] | MRO - 1550 Gauge (kPa(g)) | [5 empty] | #N/A
Weight | Before | Reading | After | Reading | ACTUAL | ADJUST | INCREMNT | AVERAGE | LINEAR | Linear Regression Output: |  |  |  | AVERAGE | LINEAR
test | Run 1 | Run 2 | Run 1 | Run 2 | DWT |  |  | READING | REGRESS |  |  |  |  | READING | REGRESS
(kPa g) | (kPa g) | (kPa g) | (kPa g) | (kPa g) | (kPa a) | (kPa a) | (kPa a) | [6 empty] | +/- | +/-
0 | 0 | 0 | 0 | 0 | 91.55 | 91.55 | #VALUE! | 0 | 84.9164 |  | Regression Output: |  |  | 91.55 | 6.6336
1000 | 1107 | 1113 | 1124 | 1115 | 1091.55 | -23.2 | -114.75 | 998.5 | 1085.9211 | Constant |  |  | 84.9164 | 93.05 | 5.6289
2000 | 2110 | 2107 | 2118 | 2109 | 2091.55 | -19.45 | 3.75 | 1998 | 2087.9283 | Std Err of Y Est |  |  | 4.1322 | 93.55 | 3.6217
3000 | 3114 | 3110 | 3122 | 3113 | 3091.55 | -23.2 | -3.75 | 2997.5 | 3089.9355 | R Squared |  |  | 1 | 94.05 | 1.6145
4000 | 4117 | 4104 | 4116 | 4107 | 4091.55 | -19.45 | 3.75 | 3996.5 | 4091.4414 | No. of Observations |  |  | 21 | 95.05 | 0.10857
5000 | 5111 | 5108 | 5119 | 5111 | 5091.55 | -20.7 | -1.25 | 4995.5 | 5092.9474 | Degrees of Freedom |  |  | 19 | 96.05 | -1.3974
6000 | 6105 | 6102 | 6113 | 6105 | 6091.55 | -14.7 | 6 | 5993.5 | 6093.4508 |  |  |  |  | 98.05 | -1.9008
7000 | 7108 | 7105 | 7117 | 7109 | 7091.55 | -18.2 | -3.5 | 6992.5 | 7094.9568 | X Coefficient(s) |  | 1.0025 |  | 99.05 | -3.4068
8000 | 8106 | 8103 | 8114 | 8107 | 8091.55 | -15.95 | 2.25 | 7990.5 | 8095.4602 | Std Err of Coef. |  | 0.00014929 |  | 101.05 | -3.9102
9000 | 9112 | 9110 | 9112 | 9114 | 9091.55 | -20.45 | -4.5 | 8988.5 | 9095.9636 |  |  |  |  | 103.05 | -4.4136
10000 | 10109 | 10107 | 10119 | 10112 | 10091.55 | -20.2 | 0.25 | 9986 | 10095.9658 |  |  |  |  | 105.55 | -4.4158
11000 | 11107 | 11105 | 11116 | 11109 | 11091.55 | -17.7 | 2.5 | 10983.5 | 11095.968 |  |  |  |  | 108.05 | -4.418
12000 | 12113 | 12111 | 12114 | 12107 | 12091.55 | -19.7 | -2 | 11980.5 | 12095.4689 |  |  |  |  | 111.05 | -3.9189
13000 | 13111 | 13109 | 13111 | 13105 | 13091.55 | -17.45 | 2.25 | 12977.5 | 13094.9699 |  |  |  |  | 114.05 | -3.4199
14000 | 14108 | 14107 | 14109 | 14103 | 14091.55 | -15.2 | 2.25 | 13974 | 14093.9695 |  |  |  |  | 117.55 | -2.4195
15000 | 15106 | 15105 | 15115 | 15110 | 15091.55 | -17.45 | -2.25 | 14970.5 | 15092.9692 |  |  |  |  | 121.05 | -1.4192
16000 | 16104 | 16103 | 16112 | 16108 | 16091.55 | -15.2 | 2.25 | 15967 | 16091.9689 |  |  |  |  | 124.55 | -0.41887
17000 | 17102 | 17101 | 17110 | 17106 | 17091.55 | -13.2 | 2 | 16962.5 | 17089.966 |  |  |  |  | 129.05 | 1.584
18000 | 18101 | 18101 | 18109 | 18107 | 18091.55 | -12.95 | 0.25 | 17958.5 | 18088.4645 |  |  |  |  | 133.05 | 3.0855
19000 | 19102 | 19102 | 19101 | 19100 | 19091.55 | -9.7 | 3.25 | 18954.5 | 19086.9629 |  |  |  |  | 137.05 | 4.5871
20000 | 20103 | 20095 | 20102 | 20102 | 20091.55 | -8.95 | 0.75 | 19948 | 20082.955 |  |  |  |  | 143.55 | 8.595
BAROMETRIC |  | Before | After | Average
PRESSURE |  | (mb) | (mb) | (mb)
|  | 914.9 | 916.1 | 915.5
Conversion | 35.3147

## D
macros:
Print_Page1
{Print.Use Page1}
{Preview}
Print_Page2
{Regression.Independent Calibrate:N9..N29}
{Regression.Dependent Calibrate:J9..J29}
{Regression.Output Calibrate:P9..P9}
{Regression.Go}
{Print.Use Page2}
{Preview}
Update_Regression
{Regression.Independent Calibrate:N9..N29}
{Regression.Dependent Calibrate:J9..J29}
{Regression.Output Calibrate:P9..P9}
{Regression.Go}