## CoverSht
PETROPHYSICAL RESULTS
MESOSCALE LABORATORY DATA
Systems Exploration (NSW)
Pty Limited
Postal Address: Box 6001 |  |  |  | Telephone: | (02) 4579 1183
Dural Delivery Centre |  |  |  | Fax: | (02) 4579 1290
NSW 2158, Australia |  |  |  | email: | systems@lisp.com.au
STUDY: | OM Manganese |  |  | Project # | 13/2007
DATE: | 12 April 2007 |  |  | AREA:
REFERENCE: | Paul Mutton SGC, Craig Reddell OM |  |  | OM (Mn) Ltd PO No. 102642
METHODS: | mass, inductive, galvanic
DATA: |  | Tables |  | Crossplots
| density, porosity | 1
| mag k, EM cond | 2 |  | Fig k-D
| galv res, IP | 3
SAMPLES: | nine (9) [in poor condition and not optimum sizes]
References on Techniques see:
Bertin, J & Loeb, J, 1976. Experimental and Theoretical Aspects of Induced Polarisation. Vol.1
[see 9.14: high resistivity -> high IP] Geopubl. Assoc. Geoexpl. Mon. 7; for IP see also
Olhoeft, G, 1985, 2492; Nelson & VV, G 1983, 62; Mahan, R & S, GP, 1986, 743]
Clark, DA & Emerson, DW, 1991. Notes on rock magnetisation characteristics in applied geophysical studies.
Explor. Geophys., 22, 547-555.
Emerson, DW, 1969. Laboratory electrical resistivity measurements of rocks.
Proc. Aust. Inst. Min. & Metal., 230, 51-62 (incl. 4 electrode water bath IP technique).
Emerson, DW, 1990. Notes on mass properties of rocks - density, porosity, permeability.
Explor. Geophys., 21, 209-216.
Emerson, DW & Yang, YP, 1997. Insights from laboratory mass property crossplots. ASEG Preview, 70, 10-14.
Emerson, DW & Welsh, HK, 1988. Electromagnetic conductivities of rock cores: Theory and analog results.
Geophysics, 53, 1233-1240.
Yang, YP & Emerson, DW, 1997. Electromagnetic conductivities of rock cores: Theory and analog results.
Geophysics, 62/6, 1779-1793 (incl. mag. k by induction coil).
Reference to high resistivity terrains:
Emerson, DW & Yang, YP, 1998. Physical properties of fractured rock - bulk resistivity.
ASEG Preview, 77, 26-27.
Important Notes:
_ These petrophysical data results relate to laboratory measurements on small samples. The extrapolation of these results to large masses of in situ material should take account of sampling statistics, rock texture, structure (e.g. jointing) and other relevant variables e.g. water saturation in electrical studies, and anisotropy.
_ The results contained herein relate only to the material submitted for testing and no responsibility is accepted for the representivity of the material submitted.
_ It is well known that the physical and electromagnetic properties of the earth are highly non-uniform. Consequently the use of parameters ......... to describe the earth must take into account the fact that they will be a function of spatial dimensions or will represent a composite value which is directly affected by the non-uniformity of the sample. In rock mechanics, these differences are described by the terms “rock mass” to represent the non-uniform composite structure, and “rock material” to represent the uniform material. [from IEE 1999: Guide for measurements of EM properties of earth media]
_Errors: Usually on a given sample or subsample, and under fixed conditions, the root mean square error of an individual measurement is better than 1% when taking into account uncertainties in geometry of the specimen of rock material and the instrument specifications between calibrations. However, in no way can this indicative measured value be described as the definitive characteristic of the rock mass for which the accurate depiction of a physical property requires adequate and careful sampling (rarely done in routine test programs owing to considerations of cost and time) and cognisance of other variables, including lab. artefacts.

## Table1
SYSTEMS EXPLORATION (NSW) PTY LIMITED | [5 empty] | Table 1
Postal Address: Box 6001, Dural Delivery Centre, NSW, 2158
Telephone: (02) 4579 1183: Fax: (02) 4579 1290 |  |  |  | MASS |  | Project: 13/2007
PROPERTIES
Date: 11 April 2007
STUDY_OM Manganese___________________________________________ |  |  |  |  | Sw: water sat. level in pores
TECHNIQUES__mass properties, vac sat technique, occluded voids assumed minor___
REFERENCE___P Mutton SGC, C Reddell OM___PO No. 102642________________ |  |  |  |  | saturant (in vacuum): fresh water
SUBSAMPLES |  |  |  |  | VALUES ROUNDED
from SAMPLES | MESOSCALE PHYSICAL PROPERTIES
|  | Sw -> 0% |  | (inferred) | Sw->100%
1-3 poor core |  | dry bulk | apparent | SGGA | WBD
4-7 small hand |  | density | porosity PA | (composite, | wet (sat.)
samples |  | DBD | (water accessible | apparent) | bulk dens.
8, 9 chips | lithology | (105oC dry) | void vol. wrt total vol) | grain dens.
# |  | g/cm3 | % | g/cm3 | g/cm3
[BOOTU]
1 | F/W dol silt | 2.04 | 33.2 | 3.06 | 2.37
(BCDD0699) | Mn dendrites
2 | massive Mn pslm | 3.44 | 29.9 | 4.91 | 3.74
(BCDD0692) | minor pyrl
3 | H//w dissem Mn | 1.88 | 30.3 | 2.69 | 2.18
(BCDD0690) | in Ss
[RENNER]
4 | massive Mn in | 2.81 | 26.8 | 3.84 | 3.08
(P305) | chert bx pyrl?
5 | massive Mn in | 4.18 | 5 | 4.39 | 4.23
(P246) | chert bx pyrl?
[BOOTU]
6 | massive Mn (dol) | 3.31 | 15.3 | 3.91 | 3.47
(P181) | strom. dol
pslm, pyrl?
[RENNER]
7 | massive Mn in | 3.84 | 4.6 | 4.03 | 3.89
(P231) | chert bx pyrl?
[BOOTU]
8 | ss + sulphides | 2.68 | 4 | 2.79 | 2.72
(BCRC0933) | CHIPS
9 | ss + sulphides | 2.75 | 3.6 | 2.84 | 2.78
(BCRC0954) | CHIPS
note grain densities
| for 8, 9 (below the Mn zone) the geol. comments suggest pyritic sulphides with low grade Cu, Pb, presumably occurring in zones in these two units |  |  | pyrl: ~4.8 g/cc (pyrolusite theoretical: 5.2 g/cc)
pslm: ~4.2 g/cc (psilomelane, range 3.7 to 4.7 g/cc)

## Table2
SYSTEMS EXPLORATION (NSW) PTY LIMITED | [6 empty] | Table 2
Postal Address: Box 6001, Dural Delivery Centre, NSW, 2158 |  |  |  |  | INDUCTIVE
Telephone: (02) 4579 1183: Fax: (02) 4579 1290 |  |  |  |  | TESTS |  | Project: 13/2007
Date: 11 April 2007
STUDY_OM Manganese___________________________________________
TECHNIQUES__induction coils mag k 460 Hz, EM cond. >100 kHz______________
REFERENCE___P Mutton SGC, C Reddell OM____P.O. No. 102642______________
SAMPLE TREATMENT: none, tested "as is"
SAMPLES | MESOSCALE PHYSICAL PROPERTIES (LAB.) |  |  |  |  | large subsamples
|  | average of three (3) small subsamples |  |  |  | lab limit
1-3 poor core |  | for each of #1 to 7 |  |  |  | 0.1 S/m
4-7 small hand |  |  |  | density
samples |  | mag k |  | v. approx. |  | EM cond.
8, 9 chips | lithology |  |  | g/cc |  | s | comments
# |  | SIx10-5 |  | t/m3 |  | S/m
[BOOTU]
1 | F/W dol silt | 15 |  | 1.77 |  | slight response
(BCDD0699) | Mn dendrites
2 | massive Mn pslm, | 122 |  | 3.74 |  | 3
(BCDD0692) | minor pyrl
3 | H//w dissem Mn | 6 |  | 2.07 |  | -> 0
(BCDD0690) | in Ss
[RENNER]
4 | massive Mn in | 57 |  | 3.18 |  | 2
(P305) | chert bx, pyrl?
5 | massive Mn in | 136 |  | 4.16 |  | 44
(P246) | chert bx, pyrl?
[BOOTU]
6 | massive Mn (dol) | 111 |  | 3.54 |  | 12
(P181) | strom. dol
pslm, pyrl?
[RENNER]
7 | massive Mn in | 91 |  | 3.82 |  | 3
(P231) | chert bx, pyrl?
[BOOTU]
8 | ss + sulphides | 10 |  | 2.56 |  | #8 was aggregated in
(BCRC0933) |  |  | numerous subsamples for #8, 9 |  |  | 4cm diam vials and
slight responses noted,
9 | ss + sulphides | 12 |  | 2.79 |  | and #9 gave similar results;
(BCRC0954) | [5 empty] | cond investigated further in
Table 3 and email 25.03.07
ALL SAMPLES: POOR CONDITION & GEOMETRY

## Table3
SYSTEMS EXPLORATION (NSW) PTY LIMITED | [7 empty] | Table 3
Postal Address: Box 6001, Dural Delivery Centre, NSW, 2158 | [5 empty] | GALVANIC
Telephone: (02) 4579 1183: Fax: (02) 4579 1290 | [5 empty] | TESTS |  | Project: 13/2007
Date: 9 April 2007
STUDY_OM Manganese___________________________________________
TECHNIQUES__galvanic electric resistivity and IP __________________________ | [6 empty] | SAMPLE TREATMENT:
REFERENCE___P Mutton SGC, C Reddell OM___PO No. 102642________________ | [6 empty] | VACUUM SATURANT 8 ohm m
solution (25oC)
LARGE SUBSAMPLES
from SAMPLES |  | MESOSCALE PHYSICAL PROPERTIES (LAB.)
ms
1-3 poor core |  |  |  |  | galvanic electrical resistivity |  |  |  | IP effect
4-7 small hand |  |  |  | air dry, as received |  |  | sat. state |  | as
samples |  |  |  | DC | rt | DC | ro | bulk | equiv.
8, 9 chips |  | lithology | texture | galv. cond. | 1 kHz | galv. res. | 1 kHz | density | charge-
# |  |  |  | S/m | ohm m | ohm m | ohm m | g/cc | ability
(values rounded)
[BOOTU]
1 |  | F/W dol silt |  |  | 292 |  | 55 | 2.38 | 13
(BCDD0699) |  | Mn dendrites
2 |  | massive Mn pslm |  | 3 |  | 0.34 |  | 3.36 | 10
(BCDD0692) |  | minor pyrl
3 | a | H//w dissem Mn | I bed |  | 177 |  | 21 | 2.18 | 15
(BCDD0690) b |  | in Ss | I bed |  |  |  | 45
|  |  | // bed |  |  |  | 22
[RENNER]
4 |  | massive Mn in |  | 3 |  | 0.32 |  | 3.25 | 62
(P305) |  | chert bx pyrl?
5 |  | massive Mn in |  | 198 |  | 0.005 |  | 4.11 | 31
(P246) |  | chert bx pyrl?
[BOOTU]
6 | a | massive Mn (dol) |  | 4 |  | 0.24 |  | 3.28 | 17
(P181) | b | strom. dol |  | 5 |  | 0.21 |  | 3.39
pslm, pyrl?
[RENNER]
7 | a | massive Mn in |  | 6 |  | 0.17 |  | 3.75 | 42
(P231) | b | chert bx pyrl? |  | 14 |  | 0.07 |  | 3.71
[BOOTU]
8 |  | ss + sulphides |  | see emailed comments sent 25.03.07 on samples 8 and 9 possible 0.1 to 1 S/m conductive zones |  |  |  |  | 3
(BCRC0933) |  | CHIPS
9 |  | ss + sulphides | [6 empty] | 11
(BCRC0954) |  | CHIPS
for 8, 9 (below the Mn zone) the geol. comments suggest pyritic sulphides with low grade Cu, Pb, presumably occurring in zones in these two units
regard lab IP data as relative maxima
(fract)
?
?

## trend line
Figure k-D
|  |  | mineral | k | D
|  |  | pyr | 180 | 4.8
|  |  | mon po | 60000 | 4.6
|  |  | hex po | 140 | 4.65
|  |  | mtt | 1000000 | 5.18
|  |  | hem | 150 | 5.26
|  |  | goe | 150 | 4.3
|  |  | ilm | 188 | 4.7
|  |  | py | 4 | 5
|  |  | cpy | 38 | 4.2
|  |  | sid | 500 | 3.96
|  |  | mgh | 700000 | 4.7
|  |  | pslm | 340 | 4.2
Figure P-D
felsic |  | mafic |  |  | pslm |  | py
DBD | Pa | DBD | Pa |  | DBD | Pa | DBD | Pa
2.65 | 0 | 3.2 | 0 |  | 4.2 | 0 | 5 | 0
2.6235 | 1 | 3.168 | 1 |  | 4.158 | 1 | 4.95 | 1
2.597 | 2 | 3.136 | 2 |  | 4.116 | 2 | 4.9 | 2
2.5705 | 3 | 3.104 | 3 |  | 4.074 | 3 | 4.85 | 3
2.544 | 4 | 3.072 | 4 |  | 4.032 | 4 | 4.8 | 4
2.5175 | 5 | 3.04 | 5 |  | 3.99 | 5 | 4.75 | 5
2.491 | 6 | 3.008 | 6 |  | 3.948 | 6 | 4.7 | 6
2.4645 | 7 | 2.976 | 7 |  | 3.906 | 7 | 4.65 | 7
2.438 | 8 | 2.944 | 8 |  | 3.864 | 8 | 4.6 | 8
2.4115 | 9 | 2.912 | 9 |  | 3.822 | 9 | 4.55 | 9
2.385 | 10 | 2.88 | 10 |  | 3.78 | 10 | 4.5 | 10
2.3585 | 11 | 2.848 | 11 |  | 3.738 | 11 | 4.45 | 11
2.332 | 12 | 2.816 | 12 |  | 3.696 | 12 | 4.4 | 12
2.3055 | 13 | 2.784 | 13 |  | 3.654 | 13 | 4.35 | 13
2.279 | 14 | 2.752 | 14 |  | 3.612 | 14 | 4.3 | 14
2.2525 | 15 | 2.72 | 15 |  | 3.57 | 15 | 4.25 | 15
2.226 | 16 | 2.688 | 16 |  | 3.528 | 16 | 4.2 | 16
2.1995 | 17 | 2.656 | 17 |  | 3.486 | 17 | 4.15 | 17
2.173 | 18 | 2.624 | 18 |  | 3.444 | 18 | 4.1 | 18
2.1465 | 19 | 2.592 | 19 |  | 3.402 | 19 | 4.05 | 19
2.12 | 20 | 2.56 | 20 |  | 3.36 | 20 | 4 | 20
2.0935 | 21 | 2.528 | 21 |  | 3.318 | 21 | 3.95 | 21
2.067 | 22 | 2.496 | 22 |  | 3.276 | 22 | 3.9 | 22
2.0405 | 23 | 2.464 | 23 |  | 3.234 | 23 | 3.85 | 23
2.014 | 24 | 2.432 | 24 |  | 3.192 | 24 | 3.8 | 24
1.9875 | 25 | 2.4 | 25 |  | 3.15 | 25 | 3.75 | 25
1.961 | 26 | 2.368 | 26 |  | 3.108 | 26 | 3.7 | 26
1.9345 | 27 | 2.336 | 27 |  | 3.066 | 27 | 3.65 | 27
1.908 | 28 | 2.304 | 28 |  | 3.024 | 28 | 3.6 | 28
1.8815 | 29 | 2.272 | 29 |  | 2.982 | 29 | 3.55 | 29
1.855 | 30 | 2.24 | 30 |  | 2.94 | 30 | 3.5 | 30
1.8285 | 31 | 2.208 | 31 |  | 2.898 | 31 | 3.45 | 31
1.802 | 32 | 2.176 | 32 |  | 2.856 | 32 | 3.4 | 32
1.7755 | 33 | 2.144 | 33 |  | 2.814 | 33 | 3.35 | 33
1.749 | 34 | 2.112 | 34 |  | 2.772 | 34 | 3.3 | 34
1.7225 | 35 | 2.08 | 35 |  | 2.73 | 35 | 3.25 | 35