QAQCR Summary Report produced 10/07/2019

Date Range used: 1/07/2019 to 10/07/2019

Batches Selected

Batches

'aa041469.a'

Laboratory Summary

| Laboratories | BV_ADE |
| --- | --- |
| No. of Batches | 1 |
| No. of DH Samples | 151 |
| No. of QC Samples | 10 |
| No. of Standard Samples | 19 |

QC Category Ratios

| QC_Category | DH Sample Count | QC Sample Count | Ratio of QC Samples to DH Samples |
| --- | --- | --- | --- |
| Field duplicate | 151 | 10 | 1:15 |

Standard Type Ratios

| Standard Type | DH Sample Count | Standard Type Count | Standard Sample Count | Ratio of QC Standard to DH Samples |
| --- | --- | --- | --- | --- |
| CLIENT | 151 | 2 | 9 | 1:17 |
| LAB | 151 | 1 | 10 | 1:15 |

Prodigy Gold NL Au Standards Submitted with Original Assays

| Au Standard(s) |  |  |  |  | No. of Samples | Calculated Values |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Std Code | Method | Exp Method | Exp Value | Exp SD |  | Mean Au | SD | CV | Mean Bias |
| BLANK | FA_AAS | FA_ICPES | 0.0000 | 0.0010 | 10 | -0.0100 | 0.0000 | 0.0000 | 0.00% |

Standard BLANK : Outliers Included

Prodigy Gold NL Au Standards Submitted with Original Assays

| Au Standard(s) |  |  |  |  | No. of Samples | Calculated Values |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Std Code | Method | Exp Method | Exp Value | Exp SD |  | Mean Au | SD | CV | Mean Bias |
| G311-7 | FA_AAS | AR_ICPMS | 0.4000 | 0.0300 | 4 | 0.3850 | 0.0058 | 0.0150 | -3.75% |
| G314-10 | FA_AAS | FA_ICPES | 0.3800 | 0.0200 | 5 | 0.3800 | 0.0100 | 0.0263 | 0.00% |

Standard G311-7 : Outliers Included

Standard G314-10 : Outliers Included

Prodigy Gold NL: DrillHole Physical Original (Au) v Repeat: All Rpts - Methods: 4A_ICPES,4A_ICPMS,FA_AAS,FA_ICPES,DIL,FA50_ICPES,FAOG_AAS,SFA_AAS (Matched Methods)

| No. of Samples | mean Au1 | mean Au2 | SD Au1 | SD Au2 | CV Au1 | CV Au2 | sRPHD (mean) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10 | 0.00 | 0.00 | 0.02 | 0.02 | -12.00 | -12.00 | 0.00 |

QQ Plot - DrillHole (Sample Name) : Original Vs All Rpts

Prodigy Gold NL: DrillHole Physical Original (Au) v Repeat: All Rpts - Methods: 4A_ICPES,4A_ICPMS,FA_AAS,WEIGHT,FA_ICPES,DIL,FA50_ICPES,FAOG_AAS,SFA_AAS,XRFFS (Matched Methods)

| No. of Samples | mean Au1 | mean Au2 | SD Au1 | SD Au2 | CV Au1 | CV Au2 | sRPHD (mean) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10 | 0.00 | 0.00 | 0.02 | 0.02 | -12.00 | -12.00 | 0.00 |

Scatter Plot - DrillHole QC (Sample Name) : No repeats found for Au