QAQCR Summary Report produced 11/07/2019

Date Range used: 11/07/2019 to 11/07/2019

Batches Selected

Batches

'aa041469.c'

Laboratory Summary

| Laboratories | BV_ADE |
| --- | --- |
| No. of Batches | 1 |
| No. of DH Samples | 153 |
| No. of QC Samples | 9 |
| No. of Standard Samples | 18 |

QC Category Ratios

| QC_Category | DH Sample Count | QC Sample Count | Ratio of QC Samples to DH Samples |
| --- | --- | --- | --- |
| Field duplicate | 153 | 9 | 1:17 |

Standard Type Ratios

| Standard Type | DH Sample Count | Standard Type Count | Standard Sample Count | Ratio of QC Standard to DH Samples |
| --- | --- | --- | --- | --- |
| CLIENT | 153 | 2 | 9 | 1:17 |
| LAB | 153 | 1 | 9 | 1:17 |

Prodigy Gold NL Au Standards Submitted with Original Assays

| Au Standard(s) |  |  |  |  | No. of Samples | Calculated Values |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Std Code | Method | Exp Method | Exp Value | Exp SD |  | Mean Au | SD | CV | Mean Bias |
| BLANK | FA_AAS | FA_ICPES | 0.0000 | 0.0010 | 9 | -0.0100 | 0.0000 | 0.0000 | 0.00% |

Standard BLANK : Outliers Included

Bad Standards

| Point No. | Standard | Lab | Batch | Data Set | Sample Id | Method | Element | Value | Difference |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | BLANK | BV_ADE | aa041469.c | EURO | PG012710 | FA_AAS | Au | -0.0100 | 0.00 |
| 2 | BLANK | BV_ADE | aa041469.c | EURO | PG012730 | FA_AAS | Au | -0.0100 | 0.00 |
| 3 | BLANK | BV_ADE | aa041469.c | EURO | PG012750 | FA_AAS | Au | -0.0100 | 0.00 |
| 4 | BLANK | BV_ADE | aa041469.c | EURO | PG012770 | FA_AAS | Au | -0.0100 | 0.00 |
| 5 | BLANK | BV_ADE | aa041469.c | EURO | PG012790 | FA_AAS | Au | -0.0100 | 0.00 |
| 6 | BLANK | BV_ADE | aa041469.c | EURO | PG012810 | FA_AAS | Au | -0.0100 | 0.00 |
| 7 | BLANK | BV_ADE | aa041469.c | EURO | PG012830 | FA_AAS | Au | -0.0100 | 0.00 |
| 8 | BLANK | BV_ADE | aa041469.c | EURO | PG012850 | FA_AAS | Au | -0.0100 | 0.00 |
| 9 | BLANK | BV_ADE | aa041469.c | EURO | PG012870 | FA_AAS | Au | -0.0100 | 0.00 |

Prodigy Gold NL Au Standards Submitted with Original Assays

| Au Standard(s) |  |  |  |  | No. of Samples | Calculated Values |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Std Code | Method | Exp Method | Exp Value | Exp SD |  | Mean Au | SD | CV | Mean Bias |
| G311-7 | FA_AAS | AR_ICPMS | 0.4000 | 0.0300 | 5 | 0.3840 | 0.0055 | 0.0143 | -4.00% |
| G314-10 | FA_AAS | FA_ICPES | 0.3800 | 0.0200 | 4 | 0.3850 | 0.0058 | 0.0150 | 1.32% |

Standard G311-7 : Outliers Included

Standard G314-10 : Outliers Included

Prodigy Gold NL: DrillHole Physical Original (Au) v Repeat: All Rpts - Methods: 4A_ICPES,4A_ICPMS,FA_AAS,FA_ICPES,DIL,FA50_ICPES,FAOG_AAS,SFA_AAS (Matched Methods)

| No. of Samples | mean Au1 | mean Au2 | SD Au1 | SD Au2 | CV Au1 | CV Au2 | sRPHD (mean) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 9 | 0.00 | 0.00 | 0.01 | 0.01 | -5.10 | -2.40 | 0.00 |

QQ Plot - DrillHole (Sample Name) : Original Vs All Rpts

Prodigy Gold NL: DrillHole Physical Original (Au) v Repeat: All Rpts - Methods: 4A_ICPES,4A_ICPMS,FA_AAS,WEIGHT,FA_ICPES,DIL,FA50_ICPES,FAOG_AAS,SFA_AAS,XRFFS (Matched Methods)

| No. of Samples | mean Au1 | mean Au2 | SD Au1 | SD Au2 | CV Au1 | CV Au2 | sRPHD (mean) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 9 | 0.00 | 0.00 | 0.01 | 0.01 | -5.10 | -2.40 | 0.00 |

Scatter Plot - DrillHole QC (Sample Name) : No repeats found for Au