## Metadata
Mass Spectrometer Files
File | File start time | File end time | Time file loaded | No of data points | No of channels | Channels | Samples
C:/Users/zircon/Documents/Ioan/S32 Aug 2024/session 4/240816 Ioan zrc-re1_1.csv | 2024-08-16 03:02:37.000 | 2024-08-16 05:15:30.481 | 2024-08-19 12:46:52.779 | 45392 | 7 | Si29,Fe56,Pb206,Pb207,Th232,U235,U238 | 240816_Ioan_zrc
Laser Log Files
File | File start time | File end time | Time file loaded | Samples | Offset (s) | Widths
C:/Users/zircon/Documents/Ioan/S32 Aug 2024/session 4/240816 Ioan zrc ap.Iolite.csv | 2024-08-16 13:03:09.502 | 2024-08-16 17:45:07.954 | 2024-08-19 12:47:05.638 | NIST612-1,J2301G-4,blk-2,blk-3,blk-4,McClure-1,McClure-2,McClure-3,MAD-1,MAD-2,MAD-3,NIST612-40-1,J2301G-5,NIST612-40-2,NIST612-40-3,C2301B-1,C2301B-2,C2301B-3,C2301B-4,C2301B-5,C2301B-6,C2301B-7,C2301B-8,J2301G-6,McClure-4,McClure-5,McClure-6,MAD-4,MAD-5,MAD-6,NIST612-40-4,NIST612-40-5,NIST612-40-6,C2301B-9,J2301G-7,C2301B-10,C2301B-11,C2301B-12,C2301B-13,C2301B-14,C2301B-15,C2301B-16,McClure-7,McClure-8,McClure-9,J2301G-8,MAD-7,MAD-8,MAD-9,NIST612-40-7,NIST612-40-8,NIST612-40-9,C2301B-17,C2301B-18,C2301B-19,C2301B-20,J2301G-9,C2301B-21,C2301B-22,C2301B-23,C2301B-24,McClure-10,McClure-11,McClure-12,MAD-10,MAD-11,MAD-12,J2301G-10,NIST612-40-10,NIST612-40-11,NIST612-40-12,C2301B-25,C2301B-26,C2301B-27,C2301B-28,C2301B-29,C2301B-30,C2301B-31,NIST612-2,C2301B-32,McClure-13,McClure-14,McClure-15,MAD-13,MAD-14,MAD-15,NIST612-40-13,NIST612-40-14,NIST612-40-15,GJ1-3,C2301B-33,C2301B-34,C2301B-35,C2301B-36,C2301B-37,C2301B-38,C2301B-39,C2301B-40,McClure-16,McClure-17,GJ1-4,McClure-18,MAD-16,MAD-17,MAD-18,NIST612-40-16,NIST612-40-17,NIST612-40-18,C2301B-41,C2301B-42,C2301B-43,GJ1-1,Temora2-3,C2301B-44,C2301B-45,McClure-19,McClure-20,McClure-21,MAD-19,MAD-20,MAD-21,NIST612-40-19,NIST612-40-20,Temora2-4,NIST612-40-21,FC1-2,J2301G-11,J2301G-12,J2301G-13,J2301G-14,J2301G-15,J2301G-16,J2301G-17,GJ1-2,J2301G-18,J2301G-19,J2301G-20,NIST612-3,GJ1-5,GJ1-6,Temora2-5,Temora2-6,FC1-3,J2301G-21,Temora2-1,J2301G-22,J2301G-23,J2301G-24,J2301G-25,J2301G-26,J2301G-27,J2301G-28,J2301G-29,J2301G-30,NIST612-4,Temora2-2,GJ1-7,GJ1-8,Temora2-7,Temora2-8,FC1-4,J2301G-31,J2301G-32,J2301G-33,J2301G-34,J2301G-35,FC1-1,J2301G-36,J2301G-37,J2301G-38,J2301G-39,J2301G-40,NIST612-5,GJ1-9,GJ1-10,Temora2-9,Temora2-10,J2301G-1,FC1-5,C2303A-1,C2303A-2,C2303A-3,C2303A-4,C2303A-5,C2303A-6,C2303A-7,C2303A-8,C2303A-9,J2301G-2,C2303A-10,NIST612-6,GJ1-11,GJ1-12,Temora2-11,Temora2-12,FC1-6,C2303A-11,C2301A-1,C2301A-2,J2301G-3,C2301A-3,C2301A-4,C2301A-5,NIST612-7,GJ1-13,GJ1-14,Temora2-13,Temora2-14,FC1-7,blk-1 | -36007.9971 | 20,40

## DRS Settings
Data Reduction Scheme Settings
U-Pb Geochronology
238U/235U | 137.818
BeamSecondsMaximum | 60
BeamSecondsMethod | Laser log
BeamSecondsSensitivity | 1000
DefaultFitType | Exponential
FitEndCrop | 1
FitStartCrop | 1
IndexChannel | U238
MaskChannel | U238
MaskCutoff | 1000
MaskMethod | Laser log
MaskResults | TRUE
MaskTrim | 0
Pb206_U238
Pb207_U235
Pb208_Th232
ReferenceMaterial | Z_GJ1
UIsotopeCutoff | 2000000
UIsotopeMode | U238
l232 | 4.9475e-11
l235 | 9.8485e-10
l238 | 1.5512e-10

## Reference Material Values
Reference Material Values
A_MAD
Matrix | Apatite
Description | Madagascar Apatite
Data Source | Thomson et al., 2012, G3
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/A_MAD.json
Notes
Measurement | Units | Value | Uncertainty
Age | Ma | 473.46 | 0
206Pb/238U | ratio | 0.076242 | 0
207Pb/235U | ratio | 0.60126 | 0
208Pb/232Th | ratio | 0 | 0
207Pb/206Pb | ratio | 0.057196 | 0
c207Pb/206Pb | ratio | 0.8681 | 0
206Pb/208Pb | ratio | 0 | 0
206Pb/204Pb | ratio | 0 | 0
207Pb/204Pb | ratio | 0 | 0
208Pb/204Pb | ratio | 0 | 0
Pb | ppm | 51.2 | 0
Th | ppm | 798 | 0
U | ppm | 22.2 | 0
176Hf/177Hf | ratio | 0 | 0
87Sr/86Sr | ratio | 0.7118 | 3e-05
87Rb/86Sr | ratio | 0.0001 | 0.0002
A_McClure
Matrix | Apatite
Description | McClure Mountain Apatite Apatite
Data Source | Schoene and Bowring, CMP, 2006
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/A_McClure.json
Notes
Measurement | Units | Value | Uncertainty
Age | Ma | 523.51 | 0
206Pb/238U | ratio | 0.084598 | 0
207Pb/235U | ratio | 0.67461 | 0
208Pb/232Th | ratio | 0 | 0
207Pb/206Pb | ratio | 0.057835 | 0
c207Pb/206Pb | ratio | 0.88198 | 0
206Pb/208Pb | ratio | 0 | 0
206Pb/204Pb | ratio | 0 | 0
207Pb/204Pb | ratio | 0 | 0
208Pb/204Pb | ratio | 0 | 0
Pb | ppm | 0 | 0
Th | ppm | 71 | 0
U | ppm | 23 | 0
176Hf/177Hf | ratio | 0 | 0
C_MMC
Matrix | CaCO3
Description | Modern Marine Carbonate
Data Source | a bunch of shells from your local beach
URL | http://www.awebpageforthisstandardifappropriate.org
File Path | C:/Users/zircon/Documents/iolite/Reference materials/C_MMC.json
Notes | Any further notes about the standard can be entered here
Measurement | Units | Value | Uncertainty
87Sr/86Sr | ratio | 0.70916 | 2e-05
M_MASS
Matrix | Calcite
Description | "(Maximum of 100 characters) desciption of the standard, for the user interface"
Data Source | "Complete fiction in this case, would normally include original reference/webaddress/etc here"
URL | http://www.awebpageforthisstandardifappropriate.org
File Path | C:/Users/zircon/Documents/iolite/Reference materials/M_MASS.json
Notes | Any further notes about the standard can be entered here
Measurement | Units | Value | Uncertainty
Na | unknown | 33000 | 0
S | ppm | 276000 | 0
V | unknown | 60 | 10
Cr | unknown | 60 | 15
Mn | unknown | 254 | 29
Fe | ppm | 156000 | 0
Co | unknown | 66 | 13
Ni | unknown | 89 | 9
Cu | unknown | 134000 | 0
Zn | unknown | 21000 | 0
Ga | unknown | 62 | 12
Ge | unknown | 60 | 10
As | unknown | 56 | 11
Se | unknown | 47 | 9
Mo | unknown | 55 | 10
Rh | unknown | 3 | 0.5
Pd | unknown | 4 | 1
Ag | unknown | 52 | 11
Cd | unknown | 73 | 18
In | unknown | 67 | 2
Sn | unknown | 57 | 5
Sb | unknown | 57 | 5
Te | unknown | 18 | 4
W | unknown | 19 | 1
Ir | unknown | 43 | 7
Pt | unknown | 49 | 0.5
Au | unknown | 47 | 0
Hg | unknown | 57 | 2
Tl | unknown | 63 | 17
Pb | unknown | 73 | 9
Bi | unknown | 59 | 10
G_BCR2G
Matrix | Glass
Description | Natural glass, basaltic composition
Data Source | GeoRem database as of 2018-07-09
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/G_BCR2G.json
Notes | GEOREM preferred values. Uncertainties for some major elements have not been included, otherwise 2 sd Values for isotope ratios come from various sources. Please review all values before using them.
Measurement | Units | Value | Uncertainty
Ag | ppm | 0.5 | 0.4
Al | ppm | 70913 | 0
Ba | ppm | 683 | 7
Be | ppm | 2.3 | 0.4
Bi | ppm | 0.05 | 0.01
Ca | ppm | 50429 | 0
Cd | ppm | 0.2 | 0
Ce | ppm | 53.3 | 0.5
Co | ppm | 38 | 2
Cr | ppm | 17 | 2
Cs | ppm | 1.16 | 0.07
Cu | ppm | 21 | 5
Dy | ppm | 6.44 | 0.06
Er | ppm | 3.7 | 0.04
Eu | ppm | 1.97 | 0.02
Fe | ppm | 96385 | 0
Ga | ppm | 23 | 1
Gd | ppm | 6.71 | 0.07
Ge | ppm | 1.5 | 0.1
Hf | ppm | 4.84 | 0.28
Ho | ppm | 1.27 | 0.08
In | ppm | 0.11 | 0.02
K | ppm | 14900 | 150
La | ppm | 24.7 | 0.3
Li | ppm | 9 | 1
Lu | ppm | 0.503 | 0.005
Mg | ppm | 21467 | 0
Mn | ppm | 1550 | 70
Mo | ppm | 270 | 30
Na | ppm | 23962 | 0
Nb | ppm | 12.5 | 1
Nd | ppm | 28.9 | 0.3
Ni | ppm | 13 | 2
P | ppm | 1615 | 0
Pb | ppm | 11 | 1
Pr | ppm | 6.7 | 0.4
Pt | ppm | 0.78 | 0.6
Rb | ppm | 47 | 0.5
Re | ppm | 0.0062 | 0.0007
Sb | ppm | 0.35 | 0.08
Sc | ppm | 33 | 2
Si | ppm | 254270 | 0
Sm | ppm | 6.59 | 0.07
Sn | ppm | 2.6 | 0.4
Sr | ppm | 342 | 4
Ta | ppm | 0.78 | 0.06
Tb | ppm | 1.02 | 0.08
Th | ppm | 5.9 | 0.3
Ti | ppm | 14100 | 1000
Tl | ppm | 0.3 | 0.1
Tm | ppm | 0.51 | 0.04
U | ppm | 1.69 | 0.12
V | ppm | 425 | 18
W | ppm | 0.5 | 0.07
Y | ppm | 35 | 3
Yb | ppm | 3.39 | 0.03
Zn | ppm | 125 | 5
Zr | ppm | 184 | 15
206Pb/204Pb | ppm | 18.765 | 0
207Pb/204Pb | ppm | 15.626 | 0
207Pb/206Pb | ppm | 0.833 | 0
208Pb/204Pb | ppm | 38.73 | 0
208Pb/206Pb | ppm | 2.066 | 0
230Th/232Th | unknown | 4.724e-06 | 0
[230Th/232Th] | ppm | 0.877 | 0
234U/238U | unknown | 5.493e-05 | 0
[234U/238U] | ppm | 1.001 | 0
87Sr/86Sr | ppm | 0.705 | 0
d7Li | ppm | 4.5 | 0.6
G_BHVO2G
Matrix | Glass
Description | Natural glass, basaltic composition
Data Source | GeoRem database as of 2018-07-09
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/G_BHVO2G.json
Notes | GEOREM preferred values. Uncertainties for some major elements have not been included, otherwise 2 sd Values for isotope ratios come from various sources. Please review all values before using them.
Measurement | Units | Value | Uncertainty
Al | ppm | 71971 | 0
Ba | ppm | 131 | 2
Be | ppm | 1.3 | 0.2
Bi | ppm | 0.01 | 0.002
Ca | ppm | 81430 | 0
Cd | ppm | 0.1 | 0.02
Ce | ppm | 37.6 | 0.2
Co | ppm | 44 | 2
Cr | ppm | 293 | 12
Cs | ppm | 0.1 | 0.02
Cu | ppm | 127 | 11
Dy | ppm | 5.28 | 0.05
Er | ppm | 2.56 | 0.02
Eu | ppm | 2.07 | 0.01
Fe | ppm | 87835 | 0
Ga | ppm | 22 | 3
Gd | ppm | 6.16 | 0.05
Ge | ppm | 1.6 | 0.1
Hf | ppm | 4.32 | 0.18
Ho | ppm | 0.98 | 0.04
In | ppm | 0.1 | 0.02
K | ppm | 4270 | 50
La | ppm | 15.2 | 0.2
Li | ppm | 4.4 | 0.8
Lu | ppm | 0.279 | 0.003
Mg | ppm | 42994 | 0
Mn | ppm | 1317 | 0
Mo | ppm | 3.8 | 0.2
Na | ppm | 17806 | 0
Nb | ppm | 18.3 | 0.8
Nd | ppm | 24.5 | 0.2
Ni | ppm | 116 | 7
P | ppm | 1266 | 0
Pb | ppm | 1.7 | 0.2
Pr | ppm | 5.35 | 0.22
Pt | ppm | 0.46 | 0.09
Rb | ppm | 9.2 | 0.04
Re | ppm | 0.00047 | 0.00013
Sb | ppm | 0.3 | 0.13
Sc | ppm | 33 | 2
Si | ppm | 230428 | 0
Sm | ppm | 6.1 | 0.03
Sn | ppm | 2.6 | 0.6
Sr | ppm | 396 | 1
Ta | ppm | 1.15 | 0.1
Tb | ppm | 0.92 | 0.04
Th | ppm | 1.22 | 0.05
Ti | ppm | 16300 | 900
Tm | ppm | 0.34 | 0.02
U | ppm | 0.403 | 0.003
V | ppm | 308 | 19
W | ppm | 0.23 | 0.04
Y | ppm | 26 | 2
Yb | ppm | 2.01 | 0.02
Zn | ppm | 102 | 6
Zr | ppm | 170 | 7
206Pb/204Pb | ratio | 18.733 | 0
207Pb/204Pb | ratio | 15.571 | 0
208Pb/204Pb | ratio | 38.27 | 0
87Sr/86Sr | ratio | 0.70347 | 0
G_GSD1G
Matrix | Glass
Description | Synthetic Basalt Glass from USGS
Data Source | GeoRem database as of 2018-07-09
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/G_GSD1G.json
Notes | GEOREM preferred values, as at 131014 Values for isotope ratios come from various sources. Please review all values before using them.
Measurement | Units | Value | Uncertainty
Ag | ppm | 23 | 3
Al | ppm | 70919.5 | 0
As | ppm | 27 | 8
Au | ppm | 4 | 0
B | ppm | 50 | 20
Ba | ppm | 67 | 1
Be | ppm | 46 | 5
Bi | ppm | 35 | 4
Ca | ppm | 51458.4 | 0
Cd | ppm | 18 | 4
Ce | ppm | 41.4 | 0.4
Co | ppm | 40 | 2
Cr | ppm | 42 | 3
Cs | ppm | 32 | 2
Cu | ppm | 42 | 2
Dy | ppm | 51.2 | 0.5
Er | ppm | 40.1 | 0.4
Eu | ppm | 41 | 2
Fe | ppm | 103382.23 | 0
Ga | ppm | 54 | 7
Gd | ppm | 50.7 | 0.5
Ge | ppm | 32 | 8
Hf | ppm | 39 | 2
Ho | ppm | 49 | 2
In | ppm | 38 | 5
K | ppm | 25300 | 300
La | ppm | 39.1 | 0.4
Li | ppm | 43 | 6
Lu | ppm | 51.5 | 0.5
Mg | ppm | 21711.6 | 0
Mn | ppm | 220 | 20
Mo | ppm | 39 | 3
Na | ppm | 26706.96 | 0
Nb | ppm | 42 | 3
Nd | ppm | 44.7 | 0.5
Ni | ppm | 58 | 4
P | ppm | 860 | 160
Pb | ppm | 50 | 2
Pr | ppm | 45 | 1
Pt | ppm | 6 | 0
Rb | ppm | 37.3 | 0.4
Sb | ppm | 43 | 7
Sc | ppm | 52 | 2
Se | ppm | 2 | 1
Si | ppm | 248678 | 0
Sm | ppm | 47.8 | 0.5
Sn | ppm | 29 | 6
Sr | ppm | 69.4 | 0.7
Ta | ppm | 40 | 4
Tb | ppm | 47 | 2
Th | ppm | 41 | 2
Ti | ppm | 7433.924 | 0
Tl | ppm | 0.9 | 0.1
Tm | ppm | 49 | 2
U | ppm | 41 | 2
V | ppm | 44 | 2
W | ppm | 43 | 4
Y | ppm | 42 | 2
Yb | ppm | 50.9 | 0.5
Zn | ppm | 54 | 2
Zr | ppm | 42 | 2
143Nd/144Nd | ratio | 0.51152 | 0
176Hf/177Hf | ratio | 0.28212 | 0
206Pb/204Pb | ratio | 19.579 | 0
207Pb/204Pb | ratio | 15.745 | 0
207Pb/206Pb | ratio | 0.80418 | 0
208Pb/204Pb | ratio | 38.908 | 0
208Pb/206Pb | ratio | 1.9871 | 0
234U/238U | ratio | 1.798 | 0
238U/235U | ratio | 271.4 | 0
87Sr/86Sr | ratio | 0.70942 | 0
d11B | ratio | 10.1 | 0
d29Si | ratio | -0.12 | 0
d30Si | ratio | -0.21 | 0
d44/40Ca | ratio | 0.86 | 0
d7Li | ratio | 30.9 | 1
G_NIST610
Matrix | Glass
Description | NIST 610 glass
Data Source | GeoRem database as of 2018-07-09
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/G_NIST610.json
Notes | GEOREM preferred values, as at 050509. Uncertainties for some major elements have not been included Values for isotope ratios come from various sources. Please review all values before using them.
Measurement | Units | Value | Uncertainty
Ag | ppm | 251 | 9
Al | ppm | 10797 | 0
As | ppm | 325 | 18
Au | ppm | 23.6 | 1.7
B | ppm | 350 | 56
Ba | ppm | 452 | 9
Be | ppm | 476 | 31
Bi | ppm | 384 | 26
Ca | ppm | 82144 | 0
Cd | ppm | 270 | 16
Ce | ppm | 453 | 8
Cl | ppm | 274 | 67
Co | ppm | 410 | 10
Cr | ppm | 408 | 10
Cs | ppm | 366 | 9
Cu | ppm | 441 | 15
Dy | ppm | 437 | 11
Er | ppm | 455 | 14
Eu | ppm | 447 | 12
F | ppm | 304 | 0
Fe | ppm | 458 | 9
Ga | ppm | 433 | 13
Gd | ppm | 449 | 12
Ge | ppm | 447 | 78
Hf | ppm | 435 | 12
Ho | ppm | 449 | 12
In | ppm | 434 | 19
K | ppm | 464 | 21
La | ppm | 440 | 10
Li | ppm | 468 | 24
Lu | ppm | 439 | 8
Mg | ppm | 432 | 29
Mn | ppm | 444 | 13
Mo | ppm | 417 | 21
Na | ppm | 99415 | 0
Nb | ppm | 465 | 34
Nd | ppm | 430 | 8
Ni | ppm | 458.7 | 4
P | ppm | 413 | 46
Pb | ppm | 426 | 1
Pd | ppm | 1.21 | 0.44
Pr | ppm | 448 | 7
Pt | ppm | 3.12 | 0.08
Rb | ppm | 425.7 | 1
Re | ppm | 49.9 | 3.7
Rh | ppm | 1.29 | 0.07
S | ppm | 575 | 32
Sb | ppm | 396 | 19
Sc | ppm | 455 | 10
Se | ppm | 138 | 42
Si | ppm | 327180 | 0
Sm | ppm | 453 | 11
Sn | ppm | 430 | 29
Sr | ppm | 515.5 | 1
Ta | ppm | 446 | 33
Te | ppm | 302 | 0
Tb | ppm | 437 | 9
Th | ppm | 457.2 | 1
Ti | ppm | 452 | 10
Tl | ppm | 59.6 | 2.8
Tm | ppm | 435 | 10
U | ppm | 461.5 | 1
V | ppm | 450 | 9
W | ppm | 444 | 29
Y | ppm | 462 | 11
Yb | ppm | 450 | 9
Zn | ppm | 460 | 18
Zr | ppm | 448 | 9
Zr | ppm | 448 | 9
11B/10B | ratio | 4.049 | 0
143Nd/144Nd | ratio | 0.51193 | 0
206Pb/204Pb | ratio | 17.045 | 0
207Pb/204Pb | ratio | 15.504 | 0
207Pb/206Pb | ratio | 0.9096 | 0
208Pb/204Pb | ratio | 36.964 | 0
208Pb/206Pb | ratio | 2.168 | 0
87Sr/86Sr | ratio | 0.7097 | 0
d7Li | ratio | 32.5 | 0
G_NIST612
Matrix | Glass
Description | NIST 612 glass, nominal 40 ppm for many elements
Data Source | GeoRem database as of 2018-07-09
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/G_NIST612.json
Notes | These are the preferred values of NIST 612 from GEOREM. All uncertainties are 95%CL or 2 SD. Uncertainties for some major elements have not been included. Values for isotope ratios come from various sources. Please review all values before using them.
Measurement | Units | Value | Uncertainty
Ag | ppm | 22 | 0.3
Al | ppm | 11167 | 0
As | ppm | 35.7 | 5.5
Au | ppm | 4.77 | 0.31
B | ppm | 34.3 | 1.7
Ba | ppm | 39.3 | 0.9
Be | ppm | 37.5 | 1.5
Bi | ppm | 30.2 | 2.3
Ca | ppm | 85002 | 0
Cd | ppm | 28.1 | 1.1
Ce | ppm | 38.4 | 0.7
Cl | ppm | 142 | 58
Co | ppm | 35.5 | 1
Cr | ppm | 36.4 | 1.5
Cs | ppm | 42.7 | 1.8
Cu | ppm | 37.8 | 1.5
Dy | ppm | 35.5 | 0.7
Er | ppm | 38 | 0.9
Eu | ppm | 35.6 | 0.8
F | ppm | 80 | 89
Fe | ppm | 51 | 2
Ga | ppm | 36.9 | 1.5
Gd | ppm | 37.3 | 0.9
Ge | ppm | 36.1 | 3.8
Hf | ppm | 36.7 | 1.2
Ho | ppm | 38.3 | 0.8
In | ppm | 38.9 | 2.1
K | ppm | 62.3 | 2.4
La | ppm | 36 | 0.7
Li | ppm | 40.2 | 1.3
Lu | ppm | 37 | 0.9
Mg | ppm | 68 | 5.1
Mn | ppm | 38.7 | 0.9
Mo | ppm | 37.4 | 1.5
Na | ppm | 103858 | 0
Nb | ppm | 38.9 | 2.1
Nd | ppm | 35.5 | 0.7
Ni | ppm | 38.8 | 0.2
P | ppm | 46.6 | 6.9
Pb | ppm | 38.57 | 0.2
Pd | ppm | 1.05 | 0.1
Pr | ppm | 37.9 | 1
Pt | ppm | 2.51 | 0.1
Rb | ppm | 31.4 | 0.4
Re | ppm | 6.63 | 0.61
Rh | ppm | 0.91 | 0.02
S | ppm | 377 | 70
Sb | ppm | 34.7 | 1.8
Sc | ppm | 39.9 | 2.5
Si | ppm | 336061 | 0
Sm | ppm | 37.7 | 0.8
Sn | ppm | 38.6 | 1.3
Sr | ppm | 78.4 | 0.2
Ta | ppm | 37.6 | 1.9
Tb | ppm | 37.6 | 1.1
Th | ppm | 37.79 | 0.08
Ti | ppm | 44 | 2.3
Tl | ppm | 14.9 | 0.5
Tm | ppm | 36.8 | 0.6
U | ppm | 37.38 | 0.08
V | ppm | 38.8 | 1.2
W | ppm | 38 | 1.1
Y | ppm | 38.3 | 1.4
Yb | ppm | 39.2 | 0.9
Zn | ppm | 39.1 | 1.7
Zr | ppm | 37.9 | 1.2
11B/10B | ratio | 4.048 | 0
143Nd/144Nd | ratio | 0.51193 | 0
206Pb/204Pb | ratio | 17.095 | 0
207Pb/204Pb | ratio | 15.511 | 0
207Pb/206Pb | ratio | 0.9073 | 0
208Pb/204Pb | ratio | 37.005 | 0
208Pb/206Pb | ratio | 2.1647 | 0
87Sr/86Sr | ratio | 0.70906 | 0
d7Li | ratio | 31.2 | 0
STDGL3
Matrix | Glass
Description | Sulphide standard fused glass
Data Source
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/STDGL3.json
Notes
Measurement | Units | Value | Uncertainty
Na | ppm | 54500 | 0.4
Mg | ppm | 57 | 1.4
Al | ppm | 114 | 1.2
S | ppm | 12500 | 1.2
Ti | ppm | 256 | 1.7
Mn | ppm | 211 | 0.5
Fe | ppm | 16500 | 0.2
Co | ppm | 73 | 0.7
Ni | ppm | 238 | 0.8
Cu | ppm | 350 | 0.8
Zn | ppm | 5800 | 0.6
Ge | ppm | 175 | 0.9
As | ppm | 352 | 0.8
Se | ppm | 3500 | 1.8
Sr | ppm | 27 | 1
Zr | ppm | 44 | 1
Mo | ppm | 174 | 0.7
Ag | ppm | 99 | 1.4
Cd | ppm | 529 | 0.9
In | ppm | 101 | 0.6
Sn | ppm | 226 | 0.5
Sb | ppm | 96 | 0.8
Te | ppm | 1613 | 0.9
Gd | ppm | 79 | 1
Hf | ppm | 36 | 0.8
Ta | ppm | 15.6 | 0.8
W | ppm | 77 | 0.6
Re | ppm | 14.6 | 1
Pt | ppm | 19.9 | 4.4
Au | ppm | 20 | 2
Tl | ppm | 167 | 0.8
Pb | ppm | 59 | 0.7
Bi | ppm | 19.1 | 0.8
Th | ppm | 13.3 | 0.7
U | ppm | 13 | 0.8
Z_91500
Matrix | Zircon
Description | 91500 Zircon, natural standard
Data Source | Wiedenbeck et al. 95, Geostandards Newsletter 19, 1-23, plus GEOREM database as of Dec09, and Woodhead & Hergt, 2005 Geostandards 29, 183-195 for Hf data
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/Z_91500.json
Notes | 204-based ratios are approximate, 207/235 value here calculated from 238/235 natural, not as reported in Wiedenbeck et al!
Measurement | Units | Value | Uncertainty
Age | Ma | 1065 | 0
Ba | ppm | 0.06 | 0
Ce | ppm | 2.6 | 0
Cr | ppm | 1.5 | 0
Dy | ppm | 12 | 0
Er | ppm | 25 | 0
Eu | ppm | 0.24 | 0
Gd | ppm | 2.2 | 0
Hf | ppm | 5900 | 0
Ho | ppm | 4.8 | 0
La | ppm | 0.006 | 0
Lu | ppm | 13 | 0
Nb | ppm | 0.79 | 0
Nd | ppm | 0.24 | 0
Ni | ppm | 0.07 | 0
P | ppm | 24 | 0
Pb | ppm | 15 | 0
Pr | ppm | 0.024 | 0
Si | ppm | 152840 | 0
Sm | ppm | 1 | 0
Sr | ppm | 0.052 | 0
Ta | ppm | 1 | 0
Tb | ppm | 0.86 | 0
Th | ppm | 30 | 0
Tl | ppm | 6 | 0
Tm | ppm | 6.9 | 0
U | ppm | 80 | 0
Y | ppm | 140 | 0
Yb | ppm | 74 | 0
176Hf/177Hf | ratio | 0.28231 | 0
206Pb/238U | ratio | 0.17917 | 0
207Pb/235U | ratio | 1.8498 | 0
208Pb/232Th | ratio | 0.05374 | 0
207Pb/206Pb | ratio | 0.07488 | 0
207Pb/206Pb(i) | ratio | 0.9142 | 0
206Pb/208Pb | ratio | 9.3545 | 0
206Pb/204Pb | ratio | 10000 | 0
207Pb/204Pb | ratio | 749 | 0
208Pb/204Pb | ratio | 1069 | 0
Z_GJ1
Matrix | Zircon
Description | Gemoc GJ 1 Zircon, natural standard
Data Source | NIGL ID_TIMS data from D.Condon; 208/232 (model) data from Jackson et al. 2004 Chem Geol 211, 47-69. Hf data from More et al. 2008 Chem Geol 255, 231-235; Trace element data from Liu et al., 2010, Chi. Sci.Bull.55
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/Z_GJ1.json
Notes | 204-based ratios are approximate, 207/235 value here calculated from 238/235 natural (137.88), errors are 2SD
Measurement | Units | Value | Uncertainty
Age | Ma | 602 | 0.7
Ce | ppm | 16 | 0
Dy | ppm | 19.9 | 0
Er | ppm | 29.3 | 0
Eu | ppm | 1 | 0
Gd | ppm | 6.9 | 0
Hf | ppm | 6558 | 0
Ho | ppm | 6.81 | 0
La | ppm | 0.005 | 0
Lu | ppm | 13.1 | 0
Nb | ppm | 1.51 | 0
Nd | ppm | 0.59 | 0
Pb | ppm | 25.7 | 0
Pr | ppm | 0.03 | 0
Si | ppm | 0 | 0
Sm | ppm | 1.42 | 0
Tb | ppm | 1.95 | 0
Th | ppm | 9.51 | 0
Ti | ppm | 3.55 | 0
Tm | ppm | 6.25 | 0
U | ppm | 287 | 0
Y | ppm | 246 | 0
Yb | ppm | 62 | 0
Zr | ppm | 431400 | 0
176Hf/177Hf | ratio | 0.282 | 0
206Pb/238U | ratio | 0.097853 | 0
207Pb/235U | ratio | 0.815 | 0
208Pb/232Th | ratio | 0.03074 | 0
207Pb/206Pb | ratio | 0.060139 | 0
206Pb/208Pb | ratio | 88.08 | 0
206Pb/204Pb | ratio | 71975 | 0
207Pb/204Pb | ratio | 7430.5 | 0
208Pb/204Pb | ratio | 0 | 0
Z_Maniitsoq
Matrix | Zircon
Description | “natural zircon, Greenland“
Data Source | “Jeffrey Marsh, Laurentian University.”
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/Z_Maniitsoq.json
Notes
Measurement | Units | Value | Uncertainty
Age | Ma | 3008.9 | 0.66
206Pb/238U | ratio | 0.59095 | 0
207Pb/235U | ratio | 18.2006 | 0.40528
207Pb/206Pb | ratio | 0.22372 | 0.00138
U | ratio | 0 | 141
Th | ratio | 0 | 154
Hf | ratio | 0 | 10849
176Hf/177Hf | ratio | 0.28086 | 2.1e-05
Z_OG1
Matrix | Zircon
Description | "OG1 Zircon, natural standard"
Data Source | Stern et al. 09, GGR (UPb)
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/Z_OG1.json
Notes
Measurement | Units | Value | Uncertainty
Age | ratio | 0 | 3465.4
Pb | ppm | 424 | 0
Th | ppm | 120 | 0
U | ppm | 150 | 0
176Hf/177Hf | ratio | 0.28063 | 3.4e-05
178Hf/177Hf | ratio | 1.4672 | 1.3e-05
206Pb/238U | ratio | 0.705 | 0
207Pb/235U | ratio | 29.06 | 0
207Pb/206Pb | ratio | 0.29907 | 0.00011
206Pb/204Pb | ratio | 23712 | 0
Z_Plesovice
Matrix | Zircon
Description | Plesovice Zircon, natural standard
Data Source | Slama et al., 2008, Chem. Geol. 249, 1-35
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/Z_Plesovice.json
Notes
Measurement | Units | Value | Uncertainty
Age | Ma | 337 | 0
206Pb/238U | ratio | 0.05368 | 0
207Pb/235U | ratio | 0.394 | 0
208Pb/232Th | ratio | 0 | 0
207Pb/206Pb | ratio | 0.05325 | 0
206Pb/208Pb | ratio | 31.2138 | 0
206Pb/204Pb | ratio | 51930 | 0
207Pb/204Pb | ratio | 0 | 0
208Pb/204Pb | ratio | 0 | 0
Pb | ppm | 39 | 0
Th | ppm | 78 | 0
U | ppm | 755 | 0
176Hf/177Hf | ratio | 0.28248 | 0
Z_Temora2
Matrix | Zircon
Description | Temora2 Zircon, natural standard
Data Source | Black et al., 2004, Chem. Geol.205, 115-140 and Woodhead & Hergt, 2005 Geostandards 29, 183-195 for Hf data
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/Z_Temora2.json
Notes
Measurement | Units | Value | Uncertainty
Age | Ma | 417 | 0
176Hf177Hf | ratio | 0.28269 | 0
206Pb/238U | ratio | 0.0667 | 0
207Pb/235U | ratio | 0.5075 | 0
208Pb/232Th | ratio | 0 | 0
207Pb/206Pb | ratio | 0.0552 | 0
206Pb/208Pb | ratio | 0 | 0
206Pb/204Pb | ratio | 0 | 0
207Pb/204Pb | ratio | 0 | 0
208Pb/204Pb | ratio | 0 | 0
G_GSE_1G
Matrix | glass
Description
Data Source | "Jochum et al., GGR 2005"
URL
File Path | C:/Users/zircon/Documents/iolite/Reference materials/G_GSE_1G.json
Notes
Measurement | Units | Value | Uncertainty
Na | ppm | 28932.2 | 1483.7
Mg | ppm | 21107.7 | 180.9
Al | ppm | 68799.5 | 2116.9
Si | ppm | 251029 | 7012
K | ppm | 21583.9 | 830.1
Ca | ppm | 52887.3 | 2144.1
Ti | ppm | 449.5 | 42
Fe | ppm | 98718.9 | 2331.9
Li | ppm | 430 | 60
Be | ppm | 490 | 80
B | ppm | 330 | 120
P | ppm | 70 | 20
K | ppm | 21800 | 200
Sc | ppm | 530 | 20
V | ppm | 440 | 20
Cr | ppm | 400 | 80
Mn | ppm | 590 | 20
Co | ppm | 380 | 20
Ni | ppm | 440 | 30
Cu | ppm | 380 | 40
Zn | ppm | 460 | 10
Ga | ppm | 490 | 70
Ge | ppm | 320 | 80
As | ppm | 260 | 90
Se | ppm | 20 | 16
Rb | ppm | 356 | 4
Sr | ppm | 447 | 5
Y | ppm | 410 | 30
Zr | ppm | 410 | 30
Nb | ppm | 420 | 40
Mo | ppm | 390 | 30
Ag | ppm | 200 | 20
Cd | ppm | 160 | 50
In | ppm | 370 | 60
Sn | ppm | 280 | 50
Sb | ppm | 450 | 110
Cs | ppm | 310 | 20
Ba | ppm | 427 | 5
La | ppm | 392 | 4
Ce | ppm | 414 | 4
Pr | ppm | 460 | 10
Nd | ppm | 453 | 5
Sm | ppm | 488 | 5
Eu | ppm | 410 | 20
Gd | ppm | 514 | 6
Tb | ppm | 480 | 20
Dy | ppm | 524 | 6
Ho | ppm | 501 | 8
Er | ppm | 595 | 6
Tm | ppm | 500 | 20
Yb | ppm | 520 | 5
Lu | ppm | 518 | 6
Hf | ppm | 395 | 7
Ta | ppm | 390 | 40
W | ppm | 430 | 50
Re | ppm | 120 | 0
Ir | ppm | 120 | 0
Pt | ppm | 30 | 0
Au | ppm | 7 | 0
Tl | ppm | 2 | 0.2
Pb | ppm | 378 | 12
Bi | ppm | 320 | 30
Th | ppm | 380 | 20
U | ppm | 420 | 30

## Data
| Final Pb206/U238_mean | Final Pb206/U238_2SE(prop) | Final Pb206/U238 age_mean | Final Pb206/U238 age_2SE(prop) | Final Pb207/U235_mean | Final Pb207/U235_2SE(prop) | Final Pb207/U235 age_mean | Final Pb207/U235 age_2SE(prop) | Final Pb207/Pb206_mean | Final Pb207/Pb206_2SE(prop) | Final Pb207/Pb206 age_mean | Final Pb207/Pb206 age_2SE(prop) | Final U238/Pb206_mean | Final U238/Pb206_2SE(prop) | Final U/Th_mean | Approx_U_PPM_mean | Approx_Th_PPM_mean | rho 206Pb/238U v 207Pb/235U | rho 207Pb/206Pb v 238U/206Pb
C2301A
C2301A-1 | 0.19708 | 0.0062226 | 1156.8094 | 33.6567 | 2.9899 | 0.093495 | 1395.2926 | 23.8666 | 0.10961 | 0.0018166 | 1781.7795 | 29.516 | 5.1943 | 0.17709 | 1.3305 | 1092.3606 | 858.4374 | 0.84775 | 0.24609
C2301A-2 | 0.10358 | 0.0047994 | 633.1936 | 27.8377 | 1.8673 | 0.081107 | 1055.0852 | 28.0433 | 0.13086 | 0.0020698 | 2099.0912 | 27.5365 | 10.0524 | 0.4164 | 0.61578 | 760.3038 | 1267.9543 | 0.93682 | 0.41199
C2301A-3 | 0.30944 | 0.0062849 | 1735.8331 | 30.9695 | 4.5568 | 0.090001 | 1740.6129 | 16.3118 | 0.10637 | 0.0016134 | 1730.994 | 28.2272 | 3.2473 | 0.06838 | 4.2717 | 589.5132 | 136.5146 | 0.68853 | 0.30925
C2301A-4 | 0.2801 | 0.0077948 | 1589.9446 | 38.9645 | 5.0093 | 0.16756 | 1813.5243 | 28.5267 | 0.12852 | 0.0032982 | 2080.4548 | 45.2998 | 3.5688 | 0.088864 | 1.4719 | 211.3633 | 141.1378 | 0.62968 | 0.22339
C2301A-5 | 0.059184 | 0.0018371 | 370.5027 | 11.1832 | 1.2278 | 0.043393 | 809.9198 | 19.7498 | 0.14921 | 0.0032774 | 2333.6336 | 39.858 | 17.0449 | 0.55441 | 1.2384 | 1882.4843 | 1485.5382 | 0.76199 | 0.16075
C2303A-2
C2303A-1 | 0.29915 | 0.0053644 | 1685.7878 | 26.6584 | 4.3401 | 0.074815 | 1697.8072 | 14.1405 | 0.10525 | 0.001553 | 1713.4775 | 26.4374 | 3.3458 | 0.061917 | 3.1028 | 482.594 | 175.0184 | 0.62237 | 0.30496
C2303A-2 | 0.30688 | 0.006509 | 1729.7269 | 34.252 | 5.4699 | 0.14808 | 1890.7237 | 22.9695 | 0.1277 | 0.0028351 | 2055.5079 | 39.1382 | 3.2386 | 0.075497 | 3.3378 | 312.6724 | 105.3179 | 0.60628 | 0.22858
C2303A-3 | 0.28318 | 0.00521 | 1606.1878 | 26.2054 | 4.0073 | 0.081081 | 1631.6437 | 16.7621 | 0.10221 | 0.0017324 | 1658.5198 | 30.658 | 3.5241 | 0.063543 | 2.0275 | 492.457 | 267.9472 | 0.58081 | 0.21543
C2303A-4 | 0.28558 | 0.0058933 | 1617.43 | 29.542 | 4.4437 | 0.099738 | 1716.2882 | 18.9428 | 0.11258 | 0.0025768 | 1824.3011 | 41.528 | 3.5016 | 0.068199 | 2.2445 | 308.5797 | 143.3432 | 0.3766 | 0.47165
C2303A-5 | 0.20778 | 0.0048893 | 1218.3385 | 26.7032 | 2.9745 | 0.066681 | 1395.9752 | 16.828 | 0.1034 | 0.0016886 | 1677.8436 | 29.7014 | 4.85 | 0.11436 | 1.5647 | 994.7223 | 643.6832 | 0.71012 | 0.33679
C2303A-6 | 0.2493 | 0.0049866 | 1436.2695 | 26.5629 | 3.6581 | 0.074974 | 1557.4233 | 16.4353 | 0.10558 | 0.0012281 | 1718.1556 | 21.0977 | 4.0127 | 0.08318 | 2.2596 | 733.0709 | 335.1228 | 0.8147 | 0.11457
C2303A-7 | 0.20549 | 0.0046819 | 1203.2554 | 25.0997 | 5.1642 | 0.10879 | 1840.8364 | 18.0733 | 0.18241 | 0.0037069 | 2659.6202 | 33.5219 | 4.8865 | 0.11205 | 2.025 | 1645.385 | 788.1511 | 0.53858 | 0.46945
C2303A-8 | 0.22816 | 0.0054333 | 1322.7751 | 28.6417 | 3.5813 | 0.080772 | 1541.4504 | 17.7403 | 0.11351 | 0.0016725 | 1846.1859 | 26.9573 | 4.4263 | 0.11196 | 1.7059 | 894.6245 | 499.4544 | 0.768 | 0.27362
C2303A-9 | 0.26298 | 0.0066983 | 1502.168 | 34.437 | 4.086 | 0.10467 | 1646.1952 | 21.068 | 0.11202 | 0.001533 | 1823.7732 | 25.1556 | 3.8498 | 0.10613 | 2.8838 | 689.4323 | 234.8448 | 0.84932 | 0.048706
C2303A-10 | 0.22177 | 0.0047418 | 1290.5817 | 25.0416 | 3.4887 | 0.077398 | 1522.1005 | 17.4982 | 0.11318 | 0.0019525 | 1844.7824 | 31.0217 | 4.5058 | 0.098461 | 4.3231 | 1154.5755 | 256.9923 | 0.60541 | 0.31235
C2303A-11 | 0.30973 | 0.0054141 | 1738.2419 | 26.6483 | 4.6762 | 0.091812 | 1759.1218 | 16.3646 | 0.10852 | 0.0019031 | 1768.4792 | 31.3141 | 3.2257 | 0.05694 | 1.9872 | 193.3056 | 98.1432 | 0.50581 | 0.32139
blk-1
blk-1 | 0.49243 | 1.4665 | 12747.303 | 346.402 | -83.3489 | 108.2371 | 5992.5317 | 30.0906 | 0.045234 | 0.1091 | 4046.5378 | 60.7741 | 0.079833 | 0.033409 | 531711092.813 | -0.0026667 | -4.0558e-12 | 0.095754 | 0.040408

## Things to cite
Paton, C., Hellstrom, J., Paul, B.,Woodhead, J. and Hergt, J. (2011) Iolite: Freeware for the visualisation and processing of mass spectrometric data. Journal of Analytical Atomic Spectrometry. doi:10.1039/c1ja10172b.